## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [11 empty] | MONTH: April 2010
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [6 empty] | REMARKS
POPULATION: 7800 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Min DO | Max Temp | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | E.coli | MOL 1400- DO | River 1800 Temp | RAIN inch | Pond 1 Feet | Pond 2 Feet
1 | 1.968 | 1.318 | 3090 | 14.3 | 7.4 | 109 | 94 | 7.6 | 10.95 | 11 |  | 4.2 | 96 | 46 | 0.5 | 99 | 5.5 | 20 | 0 |  | 12.5 | 8 | 0.05 | 9.5 | 8.45
2 | 1.96 | 1.511 | 2670 | 13.9 | 7.3 |  |  | 7.7 | 10.67 | 11.4 | 7.5 | [6 empty] | 27 | 0 |  | 12.7 | 7.9 | 0.3 | 9.3 | 8.7
3 | 1.975 | 1.734 | 2760 | [5 empty] | 10.85 | 11.4 | [7 empty] | 27 | 0 |  |  |  | 0.1
4 | 1.964 | 1.751 | 2420 | [5 empty] | 11.03 | 10.7 | [7 empty] | 28 | 0.16 |  |  |  | 0.11
5 | 1.807 | 2.163 | 2130 | 14.4 | 7.4 |  |  | 7.6 | 11.05 | 10.5 | [7 empty] | 34 | 0.08 |  | 12.7 | 7.8 | 0.08 | 8.7 | 9.4
6 | 1.716 | 2.35 | 1900 | 14.3 | 7.1 | 116 | 90 | 7.5 | 11.37 | 10.1 |  | 2.2 | 98 | 43 | 1 | 99 | 19.6 | 33 | 0.05 | <1 | 12.7 | 7.6 | 0.01 | 8.6 | 9.4
7 | 1.606 | 2.617 | 1790 | 14.6 | 7.2 |  |  | 7.5 | 11.32 | 10.2 | 7.7 | [6 empty] | 36 | 0.02 |  | 12.8 | 8.2 | 0.22 | 8.5 | 9.3
8 | 1.793 | 2.687 | 1920 | 14.3 | 7.3 | 117 | 100 | 7.5 | 11.24 | 10.8 |  | 4.2 | 96 | 94 | 1 | 99 | 22.4 | 36 | 0.01 |  | 12.8 | 8.3 | 0 | 8.5 | 9.1
9 | 1.589 | 2.648 | 1840 | 14.6 | 7.1 |  |  | 7.6 | 11.1 | 11.1 | 8.3 | [6 empty] | 31 | 0.01 |  | 12.1 | 8.9 | 0 | 8.5 | 8.8
10 | 1.538 | 2.72 | 1650 | [5 empty] | 10.84 | 11.9 | [7 empty] | 37 | 0.01 |  |  |  | 0.02
11 | 1.524 | 2.915 | 1510 | [5 empty] | 10.76 | 11.9 | [7 empty] | 30 | 0.01 |  |  |  | 0.4
12 | 1.673 | 2.699 | 1560 | 14.4 | 7.4 |  |  |  | 10.5 | 13 | [7 empty] | 31 | 0.01 |  | 11.2 | 9.6 | 0.01 | 8.5 | 8
13 | 1.565 | 2.963 | 1850 | 14.1 | 7.3 | 120 | 97 | 7.6 | 10.36 | 13.9 | 9.5 | 2 | 98 | 49 | 1.2 | 98 | 29.7 | 38 | 0.01 | <1 | 11.6 | 8.3 | 0.01 | 8.45 | 7.8
14 | 1.537 | 2.959 | 1960 | 14.2 | 7.4 |  |  | 7.3 | 10.29 | 14.3 | [7 empty] | 34 | 0.01 |  | 11.5 | 9 | 0.5 | 8.3 | 7.6
15 | 1.849 | 2.936 | 2500 | 13.9 | 7.4 | 116 | 78 | 7.6 | 10.25 | 14.4 | 8.4 | 4 | 97 | 98 | 1.4 | 98 | 34.2 | 35 | 0.01 |  | 11.3 | 9.6 | 0 | 8.2 | 7.4
16 | 1.613 | 2.943 | 2370 | 13.9 | 7.3 |  |  | 7.5 | 9.94 | 15.8 | [7 empty] | 48 | 0.03 |  | 10.9 | 10.4 | 0 | 8.1 | 7.2
17 | 1.491 | 2.957 | 2200 |  |  |  |  | 7.7 | 9.85 | 16.2 | [7 empty] | 40 | 0.02 |  |  |  | 0
18 | 1.415 | 2.899 | 1990 | [5 empty] | 9.74 | 16.4 | [7 empty] | 40 | 0.02 |  |  |  | 0
19 | 1.313 | 2.945 | 1870 | 14.7 | 7.4 |  |  | 7.6 | 9.65 | 16.7 | [7 empty] | 40 | 0.02 |  | 11.4 | 9.2 | 0 | 7.5 | 6.6
20 | 1.309 | 2.791 | 1730 | 14.9 | 7.4 | 133 | 116 | 7.5 | 9.65 | 16.7 | 11.4 | 5 | 96 | 116 | 1.9 | 98 | 44.2 | 34 | 0.02 | <1 | 11.5 | 8.8 | 0.4 | 7.3 | 6.4
21 | 1.486 | 2.624 | 2080 | 14.4 | 7.5 |  |  | 7.7 | 9.83 | 16 | [7 empty] | 36 | 0.02 |  | 11.9 | 8.3 | 0 | 7.1 | 6.1
22 | 1.305 | 2.741 | 1860 | 14.6 | 7.4 | 143 | 116 | 7.6 | 10.02 | 15.4 | 9.5 | 4.2 | 97 | 96 | 1.2 | 98 | 27.3 | 34 | 0.01 |  | 11.7 | 8.5 | 0 | 6.9 | 6
23 | 1.229 | 2.364 | 1600 | 14.9 | 7.5 |  |  | 7.6 | 9.96 | 15.7 | [7 empty] | 27 | 0.01 |  | 11.6 | 9.5 | 0.44 | 6.7 | 5.8
24 | 1.229 | 2.154 | 1470 | [5 empty] | 9.92 | 15.7 | [7 empty] | 23 | 0.01 |  |  |  | 0
25 | 1.175 | 2.142 | 1340 | [5 empty] | 9.95 | 15.8 | [7 empty] | 26 | 0.01 |  |  |  | 0
26 | 1.208 | 2.017 | 1220 | 15.2 | 7.4 |  |  | 7.5 | 9.77 | 16.1 | [7 empty] | 22 | 0.04 |  | 11.3 | 9.2 | 0.5 | 5.8 | 5.6
27 | 1.72 | 1.649 | 1720 | 14.5 | 7.2 | 127 | 130 | 7.4 | 9.77 | 15.4 | 13.2 | 4.4 | 97 | 61 | 1.1 | 99 | 15.1 | 22 | 0.01 | <1 | 11.9 | 9.5 | 0.18 | 5.8 | 5.5 | Effluent Temperature Audit
28 | 1.685 | 1.408 | 2230 | 14.6 | 7.4 |  |  | 7.6 | 9.95 | 14.8 | [7 empty] | 20 | 0 |  | 12.1 | 8.9 | 0.18 | 5.85 | 5.5
29 | 1.631 | 1.359 | 2180 | 14.6 | 7.3 | 132 | 92 | 7.6 | 10.17 | 14.1 | 14.4 | 4.2 | 97 | 48 | 0.9 | 99 | 10.2 | 22 | 0 |  | 11.7 | 8.5 | 0.1 | 5.9 | 5.5
30 | 1.488 | 0.493 | 2020 | 14.5 | 7.3 |  |  | 7.5 | 10.26 | 14.2 | [7 empty] | 14 | 0 |  | 11.4 | 9.8 | 0 | 5.9 | 5.6 | Plant Shut Down 9:00AM.
31 | [25 empty] | End River Discharge.
Total | 47.361 | 69.457 | [15 empty] | 925 |  |  |  |  | 3.61 |  |  | Temperature Audit:
MAX | 1.975 | 2.963 | 3090 | 15.2 | 7.5 | 143 | 130 | 7.7 | 11.37 | 16.7 | 14.4 | 5 | 98 | 116 | 1.9 | 99 | 44.2 | 48 | 0.16 |  | 12.8 | 10.4 | 0.5 | 9.5 | 9.4 | DMS Inline Probe: 14.8C
MIN | 1.175 | 0.493 | 1220 | 13.9 | 7.1 | 109 | 78 | 7.3 | 9.65 | 10.1 | 7.5 | 2 | 96 | 43 | 0.5 | 98 | 5.5 | 14 | 0 |  | 10.9 | 7.6 | 0 | 5.8 | 5.5 | NIST Thermometer: 15.0C
AVG | 1.5787 | 2.3152 | 1981 | 14.4455 | 7.3364 | 123.6667 | 101.4444 | 7.5591 | 10.367 | 13.72 | 9.9889 | 3.8222 | 96.8889 | 72.3333 | 1.1333 | 98.5556 | 23.1333 | 30.8333 | 0.020333 | <1 | 11.8773 | 8.8091 | 0.12033 | 7.6318 | 7.2614
PERMIT | [7 empty] | 6- |  |  | 16.7mg/L | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  | 0.07mg/L | 126/
STAND | [7 empty] | 9 |  |  | Mo/Avg | Mo/Avg | Mo/Avg | lbs/day | Mo/Avg | Mo/Avg | lbs/day |  | Mo/Avg | 100ml
PRINCIPAL OPERATOR NAME: |  |  |  | Terry Hinzman | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [6 empty] | 9980 |  | Level 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [6 empty] | 7991 |  | Level 2