## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH: August 2009
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION: 7605 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II | [7 empty] | REUSE | City of Molalla
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT : REUSE | [18 empty] | MONTH / YEAR: |  | August | 2009
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Max Temp | Min DO | NH3 mg/L | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Field Cl2 Residual | Total Colif | Turbidity | MOL 1400- DO | River 1800 Temp | RAIN inch |  | Day | WWTP MGD | Inches/acre | Nursery MGD | Inches/acre | Coleman MGD | Inches/acre | Ron MGD | Inches/acre | Total Irr. MGD
1 | 0.706 | 1.538 | [15 empty] | 84 | 1.2 | <1 | 0.85 |  |  | 0 |  | 1 |  |  |  |  | 1.538 | 3.9 |  |  | 1.538
2 | 0.72 | 1.516 | [15 empty] | 86 | 1.1 | <1 | 0.9 |  |  | 0 |  | 2 |  |  | 0.026 | 0.4 | 1.49 | 3.7 |  |  | 1.516
3 | 0.716 | 1.668 |  | 22.3 | 7.6 |  |  | 7.4 | [9 empty] | 79 | 1.1 | <1 | 0.85 | 7.8 | 27.1 | 0 |  | 3 | 0.076 | 0.6 | 0.35 | 5.1 | 1.292 | 3 |  |  | 1.668
4 | 0.706 | 1.541 |  | 21.3 | 7.4 | 218 | 223 | 7.4 |  |  | 11.5 | [6 empty] | 83 | 0.9 | <1 | 0.8 | 8.9 | 25.8 | 0 |  | 4 | 0.117 | 0.92 | 0.3 | 4.7 | 1.111 | 2.7 |  |  | 1.541
5 | 0.69 | 1.49 |  | 22.4 | 7.5 |  |  | 7.2 | [9 empty] | 97 | 0.7 | <1 | 0.8 | 8.5 | 24.3 | 0 |  | 5 | 0.104 | 0.8 | 0.3 | 4.7 | 1.086 | 2.5 |  |  | 1.49
6 | 0.704 | 0.97 |  | 22 | 7.7 | 211 | 174 | 7.4 |  |  | 10 | [6 empty] | 30 | 1 | <1 | 0.7 | 9.1 | 20.3 | 0 | Plant Shut Down @ 2:00 P.M. | 6 | 0.051 | 0.4 | 0.175 | 2.9 | 0.744 | 1.7 |  |  | 0.97
7 | 0.697 |  |  | 21.9 | 7.7 | [16 empty] | 9.3 | 19.6 | 0 |  | 7
8 | 0.7 | [22 empty] | 0 |  | 8
9 | 0.714 | [22 empty] | 0 |  | 9
10 | 0.696 |  |  | 21.9 | 7.6 | [12 empty] | 36 |  |  | 0.75 | 9 | 20 | 0 | Plant Start @ 2:30 P.M. Filling Force Main | 10
11 | 0.69 | 1.082 |  | 22.5 | 7.7 | 223 | 184 | 7.2 |  |  | 11.7 | [6 empty] | 90 | 1.7 | <1 | 0.9 | 8.9 | 22.2 | 0.05 | Force Main Filled: .476MG. Start Irrigation | 11 |  |  | 0.2 | 3.3 | 0.882 | 2 |  |  | 1.082
12 | 0.716 | 1.907 |  | 22.2 | 7.4 |  |  | 7.1 | [9 empty] | 93 | 1.2 | <1 | 0.75 | 9.4 | 23.1 | 0.05 |  | 12 | 0.08 | 0.6 | 0.5 | 8 | 1.327 | 2.6 |  |  | 1.907
13 | 0.694 | 1.534 |  | 22.3 | 7.6 | 213 | 244 | 7.5 |  |  | 10.7 | [6 empty] | 88 | 0.9 | <1 | 0.8 | 9.4 | 22.8 | 0 |  | 13 |  |  | 0.3 | 4.8 | 1.234 | 2.3 |  |  | 1.534
14 | 0.67 | 1.368 |  | 22.4 | 7.8 |  |  | 7.3 | [9 empty] | 91 | 0.7 | <1 | 0.7 | 9.6 | 20.3 | 0 |  | 14 |  |  | 0.15 | 1.9 | 1.218 | 2.3 |  |  | 1.368
15 | 0.679 | 1.148 | [15 empty] | 86 | 0.8 | <1 | 0.75 |  |  | 0 |  | 15 |  |  |  |  | 1.148 | 3.7 |  |  | 1.148
16 | 0.702 | 1.244 | [15 empty] | 84 | 0.8 | 2 | 0.75 |  |  | 0 |  | 16 |  |  |  |  | 1.244 | 4 |  |  | 1.244
17 | 0.697 | 1.205 |  | 21.2 | 7.6 |  |  | 7.3 | [9 empty] | 90 | 0.7 | <1 | 0.7 | 9.9 | 21.9 | 0 |  | 17 | 0.018 | 0.1 | 0.2 | 3 | 0.987 | 1.9 |  |  | 1.205
18 | 0.694 | 1.167 |  | 22.2 | 7.6 | 256 | 283 | 7.3 |  |  | 9.6 | [6 empty] | 89 | 0.7 | <1 | 0.85 | 10.2 | 23.6 | 0 |  | 18 | 0.122 | 1 | 0.2 | 3 | 0.845 | 1.7 |  |  | 1.167
19 | 0.691 | 1.406 |  | 22.5 | 7.6 |  |  | 7 | [9 empty] | 94 | 0.6 | <1 | 0.85 | 9.9 | 24 | 0 |  | 19 | 0.015 | 0.1 | 0.3 | 4.7 | 1.091 | 3 |  |  | 1.406
20 | 0.686 | 1.312 |  | 22.3 | 7.6 | 216 | 209 | 7.3 |  |  | 11.3 | [6 empty] | 105 | 0.7 | <1 | 0.95 | 10.9 | 24.1 | 0 |  | 20 | 0.041 | 0.3 | 0.25 | 3.7 | 1.021 | 2.8 |  |  | 1.312
21 | 0.643 | 1.415 |  | 22 | 7.4 |  |  | 7 | [9 empty] | 99 | 0.7 | <1 | 0.85 | 10.8 | 24 | 0 |  | 21 | 0.182 | 1.4 | 0.15 | 1.8 | 1.083 | 2.8 |  |  | 1.415
22 | 0.667 | 1.129 | [15 empty] | 90 | 0.7 | <1 | 0.8 |  |  | 0 |  | 22 |  |  |  |  | 1.129 | 3.5 |  |  | 1.129
23 | 0.702 | 1.077 | [15 empty] | 94 | 0.8 | <1 | 0.8 |  |  | 0 |  | 23 |  |  |  |  | 1.077 | 2.9 |  |  | 1.077
24 | 0.681 | 1.094 |  | 22.3 | 7.7 |  |  | 7.2 | [9 empty] | 99 | 1.1 | <1 | 0.95 | 9.7 | 21.6 | 0 |  | 24 |  |  |  |  | 1.094 | 2.9 |  |  | 1.094
25 | 0.661 | 1.287 |  | 22.4 | 7.7 | 311 | 342 | 7.3 |  |  | 11 | [6 empty] | 97 | 0.9 | <1 | 0.95 | 9.7 | 21.1 | 0 |  | 25 | 0.029 | 0.3 |  |  | 1.258 | 3.4 |  |  | 1.287
26 | 0.665 | 1.183 |  | 22.5 | 7.7 |  |  | 7.2 | [9 empty] | 87 | 0.8 | <1 | 0.9 | 9.2 | 22.8 | 0 |  | 26 | 0.056 | 0.2 |  |  | 1.127 | 2.8 |  |  | 1.183
27 | 0.68 | 0.677 |  | 22.7 |  | 248 | 223 |  |  |  | 12.9 | [6 empty] | 48 | 1 | <1 | 1 | 9.9 | 22 | 0 |  | 27 | 0.055 | 0.4 |  |  | 0.622 | 1.6 |  |  | 0.677
28 | 0.657 | 0.462 |  | 22.7 | 7.6 |  |  | 7.1 | [9 empty] | 49 | 0.4 | <1 | 1 | 9.8 | 21.7 | 0 |  | 28 |  |  |  |  | 0.462 | 2.2 |  |  | 0.462
29 | 0.659 | 0.443 | [15 empty] | 46 | 0.8 | <1 | 0.95 |  |  | 0 |  | 29 |  |  |  |  | 0.443 | 3 |  |  | 0.443
30 | 0.71 | 0.448 | [15 empty] | 43 | 0.7 | <1 | 1.15 |  |  | 0 |  | 30 |  |  |  |  | 0.448 | 3 |  |  | 0.448
31 | 0.691 | 0.59 |  | 22.3 | 7.5 |  |  | 7 | [9 empty] | 52 | 0.9 | <1 | 1.1 | 10.3 | 20.3 | 0 |  | 31 | 0.218 | 1.7 |  |  | 0.372 | 1.8 |  |  | 0.59
Total | 21.384 | 31.901 | [15 empty] | 2209 | [5 empty] | 0.1 |  | TOTAL | 1.164 |  | 3.401 |  | 27.373 |  |  |  | 31.901
MAX | 0.72 | 1.907 |  | 22.7 | 7.8 | 311 | 342 | 7.5 |  |  | 12.9 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 1.7 |  |  |  |  | 0.05 |  | MAX | 0.218 |  | 0.5 |  | 1.538 |  |  |  | 1.907
MIN | 0.643 | 0.443 |  | 21.2 | 7.4 | 211 | 174 | 7 |  |  | 9.6 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0.4 |  |  |  |  | 0 |  | MIN | 0.015 |  | 0.026 |  | 0.372 |  |  |  | 0.443
AVG | 0.68981 | 1.1815 |  | 22.2048 | 7.6 | 237 | 235.25 | 7.2333 |  |  | 11.0875 | [6 empty] | 78.8929 | 0.87407 | <1 | 0.85351 | 9.5333 | 22.5048 | 0.0032258 |  | AVG | 0.083143 | 0.63 | 0.24293 | 3.7143 | 1.0138 | 2.7296 |  |  | 1.1815
PERMIT | [7 empty] | 6- | [11 empty] | 2.2/ | 2.0 Daily |  |  |  |  | PERMIT
STAND | [7 empty] | 9 | [11 empty] | 100ml | Average |  |  |  |  | STAND
PRINCIPAL OPERATOR NAME: |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 |  | LEVEL 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 |  | LEVEL 1