## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH: AUG. 2010
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION: 7800 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II | [8 empty] | REUSE | City of Molalla
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT : REUSE | [19 empty] | MONTH / YEAR: |  | AUG.2010
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Max Temp | Min DO | NH3 mg/L | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Field Cl2 Residual | Total Colif | Turbidity | MOL 1400- DO | River 1800 Temp | RAIN inch |  | Day | Day | WWTP MGD | Inches/acre | Nursery MGD | Inches/acre | Coleman MGD | Inches/acre | Stevens MGD | Inches/acre | Cemetery MGD | Inches/acre | Total Irr. MGD | Back wash MGD | Effluent flow MGD
1 | 0.823 | 1.92 | [15 empty] | 40 | 0.4 | [6 empty] | 1 | 1 |  | 0 |  | 0 | 1.544 | 2.2685 |  | 0 | 0 | 0 | 1.544 | 0.376 | 1.92
2 | 0.814 | 2.141 |  | 21.2 | 7.4 |  |  | 7.7 | [9 empty] | 39 | 0.6 | <1 | 1.74 |  |  |  |  | 2 | 2 |  | 0 | 0.36288 | 0.53316 | 1.3781 | 2.0248 |  | 0 | 0 | 0 | 1.741 | 0.4 | 2.141
3 | 0.818 | 2.132 |  | 21 |  | 256 | 183 | [10 empty] | 43 | 0.5 | [6 empty] | 3 | 3 |  | 0 | 0.42336 | 0.62202 | 1.3167 | 1.9345 |  | 0 | 0.00695 | 0.010211 | 1.747 | 0.385 | 2.132
4 | 0.834 | 2.199 |  | 20.3 | 7.6 |  |  | 7.3 | [9 empty] | 44 | 0.5 | [6 empty] | 4 | 4 |  | 0 | 0.423 | 0.62149 | 1.3265 | 1.9489 |  | 0 | 0.0265 | 0.038935 | 1.776 | 0.423 | 2.199
5 | 0.84 | 2.286 |  | 20.4 |  | 264 | 178 | [10 empty] | 40 | 0.4 | <1 | [5 empty] | 5 | 5 | 0.0154 | 0.022626 | 0.423 | 0.62149 | 1.2763 | 1.8752 |  | 0 | 0.12329 | 0.18114 | 1.838 | 0.448 | 2.286
6 | 0.836 | 2.244 |  | 20.7 | 7.6 |  |  | 7.3 | [9 empty] | 41 | 0.4 | [6 empty] | 6 | 6 | 0.1982 | 0.2912 | 0.41328 | 0.60721 | 1.0629 | 1.5616 |  | 0 | 0.10867 | 0.15966 | 1.783 | 0.461 | 2.244
7 | 0.855 | 2.021 | [15 empty] | 41 | 0.4 | [6 empty] | 7 | 7 |  | 0 |  | 0 | 1.4264 | 2.0957 |  | 0 | 0.13863 | 0.20368 | 1.565 | 0.456 | 2.021
8 | 0.877 | 2.074 | [15 empty] | 39 | 0.3 | [6 empty] | 8 | 8 |  | 0 |  | 0 | 1.4309 | 2.1023 |  | 0 | 0.18814 | 0.27642 | 1.619 | 0.455 | 2.074
9 | 0.84 | 2.382 |  | 20.5 | 7.5 |  |  | 7 | [9 empty] | 42 | 0.5 | <1 | 1.9 |  |  |  |  | 9 | 9 | 0.112 | 0.16455 | 0.353 | 0.51864 | 1.286 | 1.8894 |  | 0 | 0.188 | 0.27622 | 1.939 | 0.443 | 2.382
10 | 0.82 | 2.296 |  | 20.7 |  | 255 | 180 | [10 empty] | 39 | 0.3 | [6 empty] | 10 | 10 | 0.0908 | 0.13341 | 0.423 | 0.62149 | 1.3722 | 2.0161 |  | 0 |  | 0 | 1.886 | 0.41 | 2.296
11 | 0.817 | 2.228 |  | 20.5 | 7.7 |  |  | 7.4 | [9 empty] | 41 | 0.4 | [6 empty] | 11 | 11 | 0.1285 | 0.1888 | 0.3024 | 0.4443 | 1.3065 | 1.9196 |  | 0 | 0.10758 | 0.15806 | 1.845 | 0.383 | 2.228
12 | 0.835 | 1.461 |  | 20.6 |  | 241 | 165 | [10 empty] | 39 | 0.5 | <1 | 2.1 |  |  |  | Nutrient collection and analysis | 12 | 12 |  | 0 |  | 0 | 1.0975 | 1.6124 |  | 0 | 0.11255 | 0.16536 | 1.21 | 0.251 | 1.461
13 | 0.83 | 1.353 |  | 24.4 | 7.6 |  |  | 7.1 | [9 empty] | 37 | 0.4 | [6 empty] | 13 | 13 |  | 0 |  | 0 | 0.99664 | 1.4643 |  | 0 | 0.17036 | 0.2503 | 1.167 | 0.186 | 1.353
14 | 0.8078 | 0.893 | [15 empty] | 42 | 0.3 | [6 empty] | 14 | 14 |  | 0 |  | 0 | 0.708 | 1.0402 |  | 0 |  | 0 | 0.708 | 0.185 | 0.893
15 | 0.8478 | 0.81 | [15 empty] | 38 | 0.3 | [6 empty] | 15 | 15 |  | 0 |  | 0 | 0.605 | 0.88889 |  | 0 |  | 0 | 0.605 | 0.205 | 0.81
16 | 0.8243 | 1.561 |  | 21 | 7.6 |  |  | 7.3 |  |  | 11.1 | [6 empty] | 46 | 0.3 | <1 | 2.3 |  |  |  |  | 16 | 16 |  | 0 | 0.2268 | 0.33322 | 0.99929 | 1.4682 |  | 0 | 0.13391 | 0.19675 | 1.36 | 0.201 | 1.561
17 | 0.843 | 2.181 |  | 21.5 |  | 271 | 199 | [10 empty] | 44 | 0.3 | [6 empty] | 17 | 17 | 0.1303 | 0.19144 | 0.285 | 0.41873 | 1.3405 | 1.9696 |  | 0 | 0.16515 | 0.24264 | 1.921 | 0.26 | 2.181
18 | 0.799 | 1.977 |  | 21.1 | 7.9 |  |  | 7.3 | [9 empty] | 57 | 0.4 | [6 empty] | 18 | 18 | 0.244 | 0.35849 | 0.235 | 0.34527 | 1.1821 | 1.7368 |  | 0 | 0.04688 | 0.068878 | 1.708 | 0.269 | 1.977
19 | 0.788 | 1.88 |  | 21 |  | 259 | 187 | [10 empty] | 38 | 0.5 | <1 | [5 empty] | 19 | 19 | 0.0896 | 0.13164 | 0.265 | 0.38935 | 1.034 | 1.5192 |  | 0 | 0.2394 | 0.35174 | 1.628 | 0.252 | 1.88
20 | 0.792 | 1.767 |  | 20.8 | 7.6 |  |  | 7.3 | [9 empty] | 45 | 0.5 |  | 1.1 |  |  |  |  | 20 | 20 | 0.07 | 0.10285 | 0.2024 | 0.29737 | 1.0602 | 1.5577 |  | 0 | 0.1394 | 0.20481 | 1.472 | 0.295 | 1.767
21 | 0.795 | 1.612 | [15 empty] | 46 | 0.5 | [6 empty] | 21 | 21 |  | 0 |  | 0 | 1.1633 | 1.7092 |  | 0 | 0.1917 | 0.28165 | 1.355 | 0.257 | 1.612
22 | 0.833 | 1.636 | [15 empty] | 52 | 0.5 | [6 empty] | 22 | 22 |  | 0 | 0.02585 | 0.03798 | 1.1651 | 1.7119 |  | 0 | 0.194 | 0.28503 | 1.385 | 0.251 | 1.636
23 | 0.798 | 1.898 |  | 21.1 | 7.3 |  |  | 7.3 | [9 empty] | 42 | 0.3 | <1 | [5 empty] | 23 | 23 | 0.0946 | 0.13899 | 0.258 | 0.37906 | 1.1314 | 1.6623 |  | 0 | 0.162 | 0.23802 | 1.646 | 0.252 | 1.898
24 | 0.786 | 1.707 |  | 20.5 |  | 289 | 248 | [10 empty] | 45 | 0.4 |  | 0.9 |  |  |  |  | 24 | 24 | 0.1438 | 0.21128 | 0.27457 | 0.40341 | 0.87963 | 1.2924 |  | 0 | 0.191 | 0.28062 | 1.489 | 0.218 | 1.707
25 | 0.784 | 1.304 |  | 21.2 | 7.6 |  |  | 7.3 | [9 empty] | 48 | 0.5 | [6 empty] | 25 | 25 |  | 0 | 0.014 | 0.020569 | 1.1178 | 1.6423 |  | 0 | 0.00419 | 0.0061561 | 1.136 | 0.168 | 1.304
26 | 0.791 | 1.214 |  | 21.2 |  | 260 | 188 | [10 empty] | 40 | 0.5 | <1 | [5 empty] | 26 | 26 | 0.2687 | 0.39478 | 0.001 | 0.0014692 | 0.7743 | 1.1376 |  | 0 |  | 0 | 1.044 | 0.17 | 1.214
27 | 0.7677 | 0.872 |  | 21 | 7.5 |  |  | 7.1 | [9 empty] | 40 | 0.3 | [6 empty] | 27 | 27 | 0.109 | 0.16015 |  | 0 | 0.498 | 0.73168 |  | 0 |  | 0 | 0.607 | 0.265 | 0.872
28 | 0.7796 | 0.908 | [15 empty] | 40 | 0.2 | [6 empty] | 28 | 28 |  | 0 |  | 0 | 0.74 | 1.0872 |  | 0 |  | 0 | 0.74 | 0.168 | 0.908
29 | 0.8212 | 1.014 | [15 empty] | 40 | 0.3 | [6 empty] | 29 | 29 |  | 0 |  | 0 | 0.822 | 1.2077 |  | 0 |  | 0 | 0.822 | 0.192 | 1.014
30 | 0.801 | 1.184 |  | 21.3 | 7.8 |  |  | 7.2 | [9 empty] | 38 | 0.4 | <1 | 1.2 |  |  |  |  | 30 | 30 | 0.0482 | 0.070817 |  | 0 | 0.9688 | 1.4234 |  | 0 |  | 0 | 1.017 | 0.167 | 1.184
31 | 0.782 | 1.271 |  | 21.4 |  | 272 | 213 | [10 empty] | 39 | 0.3 | [6 empty] | 31 | 31 | 0.148 | 0.21745 |  | 0 | 0.955 | 0.070156 |  | 0 |  | 0 | 1.103 | 0.168 | 1.271
Total | 25.2794 | 52.426 | [15 empty] | 1305 | [5 empty] | 0 |  |  | TOTAL | 1.8911 |  | 4.9115 |  | 33.9651 |  | 0 |  | 2.6383 |  | 43.406 | 9.02 | 52.426
MAX | 0.877 | 2.382 |  | 24.4 | 7.9 | 289 | 248 | 7.7 |  |  | 11.1 | 0 | 0 | 0 | 0 | 0 | 0 | 57 | 0.6 |  |  |  |  | 0 |  |  | MAX | 0.2687 |  | 0.42336 |  | 1.544 |  | 0 |  | 0.2394 |  | 1.939
MIN | 0.7677 | 0.81 |  | 20.3 | 7.3 | 241 | 165 | 7 |  |  | 11.1 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0.2 |  |  |  |  | 0 |  |  | MIN | 0.0154 |  | 0.001 |  | 0.498 |  | 0 |  | 0 |  | 0.605
AVG | 0.81546 | 1.6912 | #DIV/0! | 21.0636 | 7.5923 | 263 | 193.4444 | 7.2769 | #DIV/0! | #DIV/0! | 11.1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 42.0968 | 0.4 | #DIV/0! | 1.5226 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | AVG | 0.12607 | 0.089628 | 0.27286 | 0.23278 | 1.0956 | 1.5668 | #DIV/0! | 0 | 0.11992 | 0.12504 | 1.4002
PERMIT | [7 empty] | 6- |  |  |  | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  |  | 2.2/ | 2.0 Daily | [5 empty] | PERMIT # | 101514
STAND | [7 empty] | 9 | [5 empty] | lbs/day |  |  | lbs/day |  |  | 100ml | Average | [5 empty] | FILE # | 57613
I CERTIFY, UNDER PENALTY OF LAW, THAT THIS DOCUMENT AND ALL ATTACHMENTS WERE PREPARED UNDER MY DIRECTION OR SUPERVISION IN ACCORDANCE WITH A SYSTEM DESIGNED TO ASSURE THAT QUALIFED PERSONNEL
PROPERLY GATHER AND EVALUATE THE INFORMATION SUBMITTED BASED ON MY INQUIRY OF THE PERSON OR PERSONS WHO MANAGE THE SYSTEM, OR THOSE PERSONS DIRECTLY RESPONSIBLE FOR GATHERING THE INFORMATION, THE
INFORMATION SUBMITTED IS, TO THE BEST OF MY KNOWLEDGE AND BELIEF, TRUE, ACCURATE, AND COMPLETE. I AM AWARE THAT THERE ARE SIGNIFICANT PENALTIES FOR SUBMITTING FALSE INFORMATION, INCLUDING THE POSSIBILITY OF
FINES AND IMPRISONMENT FOR KNOWING VIOLATIONS.
|  | PRINCIPAL OPERATOR NAME: |  |  |  |  | Terry Hinzman | [5 empty] | TREATMENT CERTIFICATION # AND GRADE: | [5 empty] | 9980 | Level 4
|  | SIGNATURE: | [10 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [5 empty] | 7991 | Level 2