## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [12 empty] | MONTH: December 2009
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [7 empty] | REMARKS
POPULATION: 7800 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Min DO | Max Temp | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | MOL 1400- DO | River 1800 Temp | RAIN inch | Pond 1 Feet | Pond 2 Feet
1 | 1.442 | 2.782 | 1030 | 16.4 | 7.3 | 160 | 159 | 7.3 | 11.35 | 9.3 | 11.8 | 4.2 | 97 | 97 | 0.4 | 99 | 9.3 | 53 | 0.01 |  | <1 | 12.9 | 7.9 | 0 | 11 | 8.75
2 | 1.358 | 2.747 | 876 | 16.4 | 7.3 |  |  | 7.4 | 11.35 | 9.2 | [7 empty] | 51 | 0 |  |  | 13.9 | 6 | 0 | 10.9 | 8.6
3 | 1.255 | 2.583 | 749 | 16.4 | 7.5 |  |  | 7.3 | 11.39 | 7.8 | 12.3 | 6.3 | 96 | 136 | 0.5 | 99 | 10.8 | 49 | 0.01 |  |  | 13.8 | 5.2 | 0 | 10.7 | 8.3
4 | 1.191 | 2.676 | 665 | 16.2 | 7.4 | 150 | 136 | 7.3 | 11.75 | 7.2 | [7 empty] | 47 | 0.02 |  |  | 14 | 5.1 | 0 | 10.4 | 8.2
5 | 1.135 | 2.65 | 624 | [5 empty] | 11.89 | 6.8 | [7 empty] | 42 | 0.03 |  |  |  |  | 0
6 | 1.144 | 2.568 | 567 | [5 empty] | 12 | 5.9 | [7 empty] | 44 | 0.02 |  |  |  |  | 0
7 | 0.996 | 2.422 | 501 | 16.2 | 7.7 |  |  | 7.3 | 12.27 | 4.5 | [7 empty] | 38 | 0.01 |  | <1 | 16.1 | 1.7 | 0 | 10 | 7.4
8 | 0.966 | 1.201 | 372 | 16 | 7.6 | 156 | 180 | 7.4 | 12.3 | 4 | 11.1 | 6.4 | 96 | 64 | 0.8 | 99 | 8 | 9 | 0.01 |  |  | 16.5 | 1.1 | 0 | 9.8 | 7.3 | Plant Shut Down @ 1600.
9 | 0.952 |  | 321 | 16 | 7.6 | [16 empty] | 16.1 | 1 | 0 | 9.8 | 7.5
10 | 0.885 |  | 321 | 15.9 |  | 155 | 147 | [14 empty] | 16.2 | 1.2 | 0 | 9.6 | 7.8
11 | 0.823 |  | 328 | 15.8 | 7.5 | [16 empty] | 16.2 | 1.3 | 0 | 9.6 | 8
12 | 0.922 |  | 429 | [20 empty] | 0.2
13 | 1.027 |  | 402 | [20 empty] | 0.1
14 | 0.947 |  | 348 | 15.6 | 7.4 | [16 empty] | 14.7 | 4 | 1.2 | 9.6 | 8.8
15 | 2.253 | 0.465 | 398 | 13 | 7 | 107 | 87 |  | 11.79 | 9.1 | [7 empty] | 17 | 0.06 |  |  | 13.1 | 5.3 | 0.7 | 9.7 | 9.1 | Start River Discharge @ 1300.
16 | 2.687 | 1.805 | 3520 | 13.4 | 7 |  |  | 7.4 | 11.3 | 9.1 | [7 empty] | 45 | 0.04 |  |  | 12.5 | 7.2 | 0.25 | 10 | 9.3
17 | 2.267 | 2.74 | 3120 | 13.7 | 7.1 | 72 | 63 | 7.2 | 12.46 | 5.8 | 12.1 | 4.9 | 93 | 112 | 0.5 | 99 | 11.4 | 47 | 0.01 |  | <1 | 12.5 | 7.6 | 0.1 | 10 | 9.3
18 | 1.956 | 2.874 | 2410 | 14 | 7.1 |  |  | 7.2 | 12.39 | 6.2 | 12 | [6 empty] | 50 | 0.01 |  |  | 12.7 | 7.7 | 0.1 | 10 | 9.2
19 | 1.883 | 2.87 | 1970 | [5 empty] | 12.21 | 6.8 | [7 empty] | 42 | 0.01 |  |  |  |  | 0.15
20 | 2.01 | 2.872 | 1860 | [5 empty] | 11.99 | 7.3 | [7 empty] | 42 | 0.01 |  |  |  |  | 0.7
21 | 3.713 | 2.98 | 3420 | 13.14 | 7 |  |  |  | 11.87 | 7.7 | [7 empty] | 47 | 0 |  |  | 12 | 8.2 | 0.8 | 10 | 8.8
22 | 3.255 | 3.075 | 4040 | 12.7 | 7 | 63 | 65 | 7.3 | 12.02 | 7.6 | 13.2 | 5.3 | 92 | 136 | 0.4 | 99 | 10.3 | 60 | 0 |  | <1 | 12.3 | 7.7 | 0 | 10 | 8.85
23 | 2.367 | 3.109 | 2720 | 13.3 | 7 | 74 | 62 | 7.2 | 12.31 | 7.4 |  | 5.2 | 93 | 135 | 0.6 | 99 | 15.6 | 52 | 0 |  |  | 13.3 | 5.7 | 0.05 | 10.1 | 8.9
24 | 2.031 | 3.068 | 2020 | 13.1 | 7.1 |  |  | 7.2 | 12.43 | 6.9 | 10.5 | [6 empty] | 53 | 0 |  |  | 13.5 | 5.6 | 0 | 10 | 8.8
25 | 1.765 | 3.047 | 1650 | [5 empty] | 12.46 | 6.7 | [7 empty] | 59 | 0 |  |  |  |  | 0
26 | 1.662 | 2.978 | 1380 | [5 empty] | 12.44 | 6.5 | [7 empty] | 56 | 0 |  |  |  |  | 0
27 | 1.549 | 2.918 | 1170 | [5 empty] | 12.51 | 6.1 | [7 empty] | 50 | 0 |  |  |  |  | 0
28 | 1.457 | 2.869 | 1010 | 13.7 | 7.2 |  |  | 7.2 | 12.6 | 5.8 | [7 empty] | 52 | 0 |  |  | 14 | 5.4 | 0 | 9.8 | 7.9
29 | 1.407 | 2.78 | 900 | 13.6 | 7.2 | 171 | 123 | 7.2 | 12.6 | 5.6 | 9.8 | 6.8 | 96 | 158 | 0.6 | 99 | 13.9 | 50 | 0 |  | <1 | 14.1 | 4.3 | 0.4 | 9.6 | 7.6
30 | 1.666 | 2.718 | 888 | 13.2 | 7.1 | 110 | 105 | 7.4 | 12.7 | 5.2 |  | 6.4 | 94 | 145 | 0.4 | 99 | 9.1 | 49 | 0.02 |  |  | 13.3 | 6.1 | 0.2 | 9.6 | 7.3
31 | 2.541 | 2.699 | 1210 | 13.2 | 7 |  |  | 7.3 | 12.45 | 5.5 | 10.1 | [6 empty] | 53 | 0.02 |  |  | 13.2 | 5.8 | 1.17 | 9.6 | 7.1
Total | 51.512 | 65.496 | [15 empty] | 1157 | [5 empty] | 6.12
MAX | 3.713 | 3.109 | 4040 | 16.4 | 7.7 | 171 | 180 | 7.4 | 12.7 | 9.3 | 13.2 | 6.8 | 97 | 158 | 0.8 | 99 | 15.6 | 60 | 0.06 |  |  | 16.5 | 8.2 | 1.2 | 11 | 9.3
MIN | 0.823 | 0.465 | 321 | 12.7 | 7 | 63 | 62 | 7.2 | 11.3 | 4 | 9.8 | 4.2 | 92 | 64 | 0.4 | 99 | 8 | 9 | 0 |  |  | 12 | 1 | 0 | 9.6 | 7.1
AVG | 1.6617 | 2.6198 | 1329.6452 | 14.5882 | 7.2429 | 121.8 | 112.7 | 7.2875 | 12.1132 | 6.8 | 11.4333 | 5.6875 | 94.625 | 122.875 | 0.525 | 99 | 11.05 | 46.28 | 0.0116 |  | <1 | 13.95 | 5.05 | 0.19742 | 9.9909 | 8.3091
PERMIT | [7 empty] | 6- |  |  | 16.7mg/L | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  | 0.07mg/L |  | 126/
STAND | [7 empty] | 9 |  |  | Mo/Avg | Mo/Avg | Mo/Avg | lbs/day | Mo/Avg | Mo/Avg | lbs/day |  | Mo/Avg |  | 100ml
PRINCIPAL OPERATOR NAME: |  |  |  | Matt Johnson | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 9474 |  | Level 2
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 9222 |  | Level 1