## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [11 empty] | MONTH: February 2010
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [6 empty] | REMARKS
POPULATION: 7800 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Min DO | Max Temp | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | E.coli | MOL 1400- DO | River 1800 Temp | RAIN inch | Pond 1 Feet | Pond 2 Feet
1 | 1.62 | 2.689 | 966 | 13.8 | 7.1 |  |  | 6.9 | 11.24 | 9.2 | [7 empty] | 45 | 0.01 |  | 13.4 | 7.7 | 0.3 | 9.7 | 5.8
2 | 1.71 | 2.646 | 1050 | 14 | 7 | 116 | 99 | 6.9 | 11.16 | 9.3 | 4.4 | 7.2 | 94 | 159 | 1 | 99 | 22 | 39 | 0.01 |  | 13.1 | 8 | 0.1 | 9.7 | 5.7
3 | 1.647 | 2.617 | 1020 | 14.1 | 7 |  |  | 7 | 11.07 | 9.6 | [7 empty] | 55 | 0.01 | <1 | 12.8 | 8.4 | 0.1 | 9.6 | 5.65
4 | 1.618 | 2.177 | 1050 | 14.2 |  | 120 | 104 |  | 10.99 | 9.6 | 5.6 | 7.4 | 94 | 134 | 0.7 | 99 | 12.7 | 41 | 0.02 |  | 12.9 | 8.5 | 0.1 | 9.5 | 5.5
5 | 1.585 | 1.938 | 1150 | 14 |  |  |  |  | 10.81 | 10.3 | [7 empty] | 40 | 0.02 |  | 13.5 | 9.1 | 0 | 9.5 | 5.5
6 | 1.488 | 1.934 | 1090 | [5 empty] | 10.81 | 10.3 | [7 empty] | 32 | 0.02 |  |  |  | 0.08
7 | 1.473 | 1.909 | 993 | [5 empty] | 10.98 | 10 | [7 empty] | 32 | 0.02 |  |  |  | 0
8 | 1.354 | 1.895 | 891 | 14.2 | 7 |  |  | 7 | 10.85 | 10.5 | [7 empty] | 38 | 0.02 |  | 13.5 | 7.1 | 0 | 9.2 | 5.2
9 | 1.287 | 1.686 | 818 | 14.6 | 7.3 |  |  | 7.2 | 11.08 | 9.5 | 5.5 | [6 empty] | 33 | 0.02 | <1 | 14 | 6.6 | 0 | 9.2 | 5
10 | 1.291 | 1.559 | 768 | 14.3 | 7.3 | 150 | 109 | 7.2 | 11.17 | 9.2 |  | 8 | 95 | 104 | 1.1 | 99 | 14.3 | 30 | 0.01 |  | 13.7 | 6 | 0.1 | 9.2 | 5
11 | 1.34 | 1.565 | 785 | 14.5 | 7.2 | 150 | 123 | 7 | 11.26 | 8.3 | 5.8 | 7.6 | 95 | 99 | 1.3 | 98 | 17 | 41 | 0.01 |  | 12.7 | 8.1 | 0.2 | 9.2 | 4.9
12 | 1.519 | 0.553 | 975 | 14 |  |  |  |  | 11.03 | 9 | [7 empty] | 26 | 0.02 |  | 12.4 | 9.1 | 0.2 | 9.3 | 4.8 | Plant Shut Down @ 8:30 AM. Cleaning.
13 | 1.501 |  | 1060 | [19 empty] | 0.33
14 | 1.818 |  | 1100 | [19 empty] | 0.27
15 | 1.857 |  | 1230 | [19 empty] | 0.35
16 | 1.952 |  | 1240 | 13.9 | 6.9 | [17 empty] | 0 | 9.4 | 6.5
17 | 1.751 | 0.827 | 1190 | 14 | 6.9 |  |  | 7.1 | 11.23 | 10.2 | [7 empty] | 32 | 0 |  | 12.6 | 8.5 | 0 | 9.3 | 6.9 | Start River Discharge @ 11:00 AM.
18 | 1.625 | 1.51 | 1080 | 13.8 | 7.1 | 126 | 112 | 7 | 10.91 | 10.5 | 5.8 | 4.5 | 96 | 57 | 1.1 | 99 | 13.9 | 40 | 0.02 | <1 | 12.4 | 8.8 | 0
19 | 1.492 | 1.417 | 966 | 14.4 | 7 |  |  | 7 | 10.97 | 10.4 | 5.6 | [6 empty] | 24 | 0.01 |  | 14 | 7.8 | 0 | 9.3 | 6.9
20 | 1.419 | 1.352 | 862 | [5 empty] | 11.01 | 10.2 | [7 empty] | 28 | 0.01 |  |  |  | 0
21 | 1.361 | 1.334 | 774 | [5 empty] | 11.09 | 10.1 | [7 empty] | 27 | 0.01 |  |  |  | 0
22 | 1.24 | 1.388 | 698 | 14.5 | 7.3 |  |  | 7.1 | 11.26 | 9.8 | [7 empty] | 31 | 0.01 |  | 13.8 | 6.3 | 0 | 9.3 | 6.9
23 | 1.32 | 1.394 | 650 | 14.7 | 7.1 | 162 | 127 | 6.8 | 11.31 | 9.5 | 5.3 | 6.2 | 96 | 72 | 0.7 | 99 | 8.1 | 30 | 0.01 |  | 14.5 | 6.4 | 0.55 | 9.2 | 6.8
24 | 1.706 | 1.394 | 758 | 14 | 7 |  |  | 6.9 | 11.34 | 9.5 | [7 empty] | 27 | 0.01 | <1 | 12.3 | 9 | 0.3 | 9.3 | 6.8
25 | 1.751 | 1.395 | 1040 | 13.9 | 6.9 | 153 | 102 | 7 | 11.26 | 9.8 | 6.4 | 6.1 | 96 | 71 | 0.8 | 99 | 9.3 | 29 | 0.01 |  | 12.6 | 8.3 | 0.25 | 9.4 | 6.8
26 | 2.012 | 1.293 | 1110 | 13.5 | 6.9 |  |  | 6.9 | 10.99 | 9.9 | [7 empty] | 29 | 0.01 |  | 12.4 | 8.5 | 0.3 | 9.4 | 6.9
27 | 1.929 | 1.192 | 1210 | [5 empty] | 11.04 | 10.1 | [7 empty] | 28 | 0.01 |  |  |  | 0
28 | 1.711 | 1.138 | 1080 | [5 empty] | 10.9 | 10.6 | [7 empty] | 25 | 0.01 |  |  |  | 0
29
30
31
Total | 44.377 | 38.802 | [15 empty] | 802 |  |  |  |  | 3.53
MAX | 2.012 | 2.689 | 1240 | 14.7 | 7.3 | 162 | 127 | 7.2 | 11.34 | 10.6 | 6.4 | 8 | 96 | 159 | 1.3 | 99 | 22 | 55 | 0.02 |  | 14.5 | 9.1 | 0.55 | 9.7 | 6.9
MIN | 1.24 | 0.553 | 650 | 13.5 | 6.9 | 116 | 99 | 6.8 | 10.81 | 8.3 | 4.4 | 4.5 | 94 | 57 | 0.7 | 98 | 8.1 | 24 | 0 |  | 12.3 | 6 | 0 | 9.2 | 4.8
AVG | 1.5849 | 1.6167 | 985.8571 | 14.1263 | 7.0625 | 139.5714 | 110.8571 | 7 | 11.0733 | 9.8083 | 5.55 | 6.7143 | 95.1429 | 99.4286 | 0.95714 | 98.8571 | 13.9 | 33.4167 | 0.012917 | <1 | 13.1444 | 7.9 | 0.12607 | 9.3722 | 5.975
PERMIT | [7 empty] | 6- |  |  | 16.7mg/L | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  | 0.07mg/L | 126/
STAND | [7 empty] | 9 |  |  | Mo/Avg | Mo/Avg | Mo/Avg | lbs/day | Mo/Avg | Mo/Avg | lbs/day |  | Mo/Avg | 100ml
PRINCIPAL OPERATOR NAME: |  |  |  | Matt Johnson | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [6 empty] | 9474 |  | Level 2
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [6 empty] | 9222 |  | Level 1