## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [11 empty] | MONTH: January 2010
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [6 empty] | REMARKS
POPULATION: 7800 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Min DO | Max Temp | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | E.coli | MOL 1400- DO | River 1800 Temp | RAIN inch | Pond 1 Feet | Pond 2 Feet
1 | 3.018 | 2.672 | 3960 | [5 empty] | 12.14 | 6.5 | [7 empty] | 39 | 0.02 |  |  |  | 0.1
2 | 2.434 | 2.687 | 4090 | [5 empty] | 11.98 | 7.2 | [7 empty] | 55 | 0.01 |  |  |  | 0
3 | 2.054 | 2.667 | 3020 | [5 empty] | 11.86 | 7.4 | [7 empty] | 54 | 0.01 |  |  |  | 0
4 | 1.942 | 2.761 | 2290 | 13.4 | 7 |  |  | 7.1 | 11.8 | 7.5 | [7 empty] | 47 | 0.01 |  | 12.3 | 8.2 | 0.3 | 9.9 | 6.9
5 | 2.52 | 2.929 | 2800 | 13.5 | 7.1 | 84 | 66 | 7.2 | 11.65 | 8.2 | 8.1 | 6 | 93 | 147 | 0.4 | 99 | 9.8 | 59 | 0.01 | <1 | 12 | 8.8 | 1.2 | 9.9 | 6.8
6 | 3.592 | 2.923 | 4420 | 12.6 | 7 |  |  | 7.2 | 11.56 | 8.5 | [7 empty] | 52 | 0.01 |  | 12 | 8.7 | 0 | 10.1 | 6.8
7 | 2.556 | 2.879 | 3580 | 13.1 | 7 | 65 | 53 | 7.1 | 11.55 | 8.5 | 8.2 | 6.4 | 90 | 154 | 0.7 | 98 | 16.8 | 48 | 0.01 |  | 12.4 | 7.5 | 0 | 10 | 6.8
8 | 2.277 | 3.007 | 2660 | 13.2 | 6.9 |  |  | 7.1 | 11.61 | 8.2 | [7 empty] | 53 | 0 |  | 12.4 | 7.8 | 0.5 | 10 | 6.8
9 | 2.475 | 3.018 | 2320 | [5 empty] | 11.62 | 8.1 | [7 empty] | 50 | 0 |  |  |  | 0
10 | 2.162 | 2.973 | 1920 | [5 empty] | 11.54 | 8.1 | [7 empty] | 49 | 0 |  |  |  | 0
11 | 1.928 | 3.024 | 1630 | 13.7 | 7 |  |  | 7 | 11.48 | 8.1 | [7 empty] | 47 | 0 |  | 12.2 | 8.8 | 0.5 | 10 | 6.6
12 | 2.438 | 3.024 | 1650 | 13 | 7 |  |  | 7.2 | 11.32 | 8.5 | 7.1 | [6 empty] | 55 | 0.01 | <1 | 11.9 | 9.5 | 0.1 | 10 | 6.3
13 | 2.259 | 2.996 | 1640 | 13.5 | 6.9 | 109 | 91 | 7 | 11.31 | 8.6 |  | 6.4 | 94 | 160 | 0.7 | 99 | 17.5 | 59 | 0.01 |  | 12 | 8.9 | 0.05 | 10 | 6.1
14 | 1.997 | 2.983 | 1740 | 13.6 | 7 | 90 | 77 | 7 | 11.38 | 8.7 | 7.3 | 6.1 | 93 | 152 | 0.7 | 99 | 17.4 | 59 | 0.02 |  | 12.3 | 8.4 | 0 | 9.9 | 5.9
15 | 2.245 | 1.064 | 1590 | 13.7 |  |  |  |  | 11.03 | 8.7 | [7 empty] | 11 | 0.02 |  | 12.2 | 8.5 | 1.2 | 9.8 | 5.75 | Plant Shut Down @ 8:00 AM: Cleaning.
16 | 2.6 |  | 2200 | [19 empty] | 0.3
17 | 2.85 |  | 2470 | [19 empty] | 0.22
18 | 3.17 |  | 2680 | [19 empty] | 0
19 | 2.191 | 0.683 | 2180 |  | 6.9 | 101 | 79 | 7.1 | 11.09 | 9 |  | 5.8 | 94 | 33 | 0.8 | 98 | 4.6 | 23 | 0.01 |  | 11.6 | 8.5 | 0 | 10 | 8.4 | Start River Discharge @ 2:15 PM.
20 | 1.94 | 2.412 | 1760 | 13.7 | 6.9 |  |  | 6.9 | 11.09 | 8.8 | 5.6 | [6 empty] | 46 | 0.01 | <1 | 12.6 | 8 | 0 | 9.9 | 8.55
21 | 1.77 | 2.908 | 1450 | 13.7 | 7 | 104 | 77 | 6.8 | 11.2 | 8.6 |  | 5.6 | 95 | 136 | 0.9 | 99 | 21.8 | 53 | 0.01 |  | 12.5 | 8.1 | 0 | 9.8 | 8.4
22 | 1.783 | 2.974 | 1250 | 13.9 | 6.7 |  |  | 6.5 | 11.19 | 8.6 | 5.7 | [6 empty] | 59 | 0.01 |  | 12.6 | 7.7 | 0.34 | 9.7 | 8.1
23 | 1.83 | 2.935 | 1200 | [5 empty] | 11.46 | 8.6 | [7 empty] | 52 | 0.01 |  |  |  | 0.05
24 | 2.066 | 2.874 | 1100 | [5 empty] | 11.53 | 8.6 | [7 empty] | 52 | 0.01 |  |  |  | 0.9
25 | 2.641 | 2.87 | 1930 | 13.1 | 6.7 |  |  | 6.5 | 11.46 | 8.5 | [7 empty] | 48 | 0.01 |  | 12.7 | 8.3 | 0.05 | 10 | 7.5
26 | 2.145 | 2.892 | 1890 | 13.3 | 6.9 | 145 | 66 | 6.5 | 11.43 | 9 | 5.8 | 7.1 | 95 | 171 | 1 | 98 | 24 | 49 | 0.01 |  | 12.7 | 8.3 | 0 | 10 | 7.4
27 | 1.853 | 2.969 | 1550 | 13.9 | 6.9 |  |  | 6.6 | 11.42 | 9 | [7 empty] | 48 | 0.01 | <1 | 13.5 | 6.8 | 0 | 9.9 | 7.2
28 | 1.698 | 2.932 | 1310 | 13.8 | 7 | 113 | 89 | 6.9 | 11.54 | 8.6 | 8 | 7.3 | 94 | 179 | 0.7 | 99 | 17.1 | 52 | 0.01 |  | 13.1 | 8 | 0 | 9.7 | 7
29 | 1.576 | 2.927 | 1150 | 14 | 7 |  |  | 7.1 | 11.48 | 8.6 | [7 empty] | 62 | 0.01 |  | 13 | 8.2 | 0.1 | 9.7 | 6.7
30 | 1.613 | 2.849 | 1060 | [5 empty] | 11.43 | 8.8 | [7 empty] | 54 | 0.01 |  |  |  | 0.1
31 | 1.631 | 2.784 | 1030 | [5 empty] | 11.24 | 9.2 | [7 empty] | 45 | 0.01 |  |  |  | 0
Total | 69.254 | 76.616 | [15 empty] | 1380 |  |  |  |  | 6.01
MAX | 3.592 | 3.024 | 4420 | 14 | 7.1 | 145 | 91 | 7.2 | 12.14 | 9.2 | 8.2 | 7.3 | 95 | 179 | 1 | 99 | 24 | 62 | 0.02 |  | 13.5 | 9.5 | 1.2 | 10.1 | 8.55
MIN | 1.576 | 0.683 | 1030 | 12.6 | 6.7 | 65 | 53 | 6.5 | 11.03 | 6.5 | 5.6 | 5.6 | 90 | 33 | 0.4 | 98 | 4.6 | 11 | 0 |  | 11.6 | 6.8 | 0 | 9.7 | 5.75
AVG | 2.234 | 2.7363 | 2113.5484 | 13.4833 | 6.9389 | 101.375 | 74.75 | 6.9333 | 11.4782 | 8.3821 | 6.975 | 6.3375 | 93.5 | 141.5 | 0.7375 | 98.625 | 16.125 | 49.2857 | 0.0096429 | <1 | 12.4211 | 8.2632 | 0.19387 | 9.9105 | 7.0526
PERMIT | [7 empty] | 6- |  |  | 16.7mg/L | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  | 0.07mg/L | 126/
STAND | [7 empty] | 9 |  |  | Mo/Avg | Mo/Avg | Mo/Avg | lbs/day | Mo/Avg | Mo/Avg | lbs/day |  | Mo/Avg | 100ml
PRINCIPAL OPERATOR NAME: |  |  |  | Matt Johnson | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [6 empty] | 9474 |  | Level 2
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [6 empty] | 9222 |  | Level 1