## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH: July 2009
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION: 7605 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II | [7 empty] | REUSE | City of Molalla
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT : REUSE | [18 empty] | MONTH / YEAR: |  | July | 2009
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Max Temp | Min DO | NH3 mg/L | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Field Cl2 Residual | Total Colif | Turbidity | MOL 1400- DO | River 1800 Temp | RAIN inch |  | Day | WWTP MGD | Inches/acre | Nursery MGD | Inches/acre | Coleman MGD | Inches/acre | Ron MGD | Inches/acre | Total Irr. MGD
1 | 0.709 | 1.222 |  | 18.6 | 7.3 | 246 | 190 | 7.3 | [9 empty] | 46 | 1.5 | <1 | 0.6 | 9.2 | 21.7 | 0 |  | 1 | 0.101 | 0.8 |  |  | 1.121 | 3.4 |  |  | 1.222
2 | 0.709 | 1.245 |  | 18.7 | 7.3 |  |  | 7.3 |  |  | 9.8 | [6 empty] | 45 | 1.5 | <1 | 0.6 | 9.1 | 23.6 | 0 |  | 2 | 0.058 | 0.5 |  |  | 1.187 | 2.9 |  |  | 1.245
3 | 0.75 | 1.144 | [15 empty] | 45 | 1.2 | <1 | 0.6 |  |  | 0 |  | 3 |  |  |  |  | 1.144 | 2.8 |  |  | 1.144
4 | 0.729 | 1.183 | [15 empty] | 54 | 1.2 | <1 | 0.6 |  |  | 0 |  | 4 |  |  |  |  | 1.183 | 3.5 |  |  | 1.183
5 | 0.782 | 1.16 | [15 empty] | 48 | 1.3 | <1 | 0.6 |  |  | 0 |  | 5 |  |  |  |  | 1.16 | 3.2 |  |  | 1.16
6 | 0.754 | 1.472 |  | 20.4 | [13 empty] | 66 | 1 | <1 | 1.1 | 9 | 20.5 | 0 |  | 6 | 0.097 | 0.8 | 0.44 | 6.5 | 0.935 | 2 |  |  | 1.472
7 | 0.713 | 1.708 |  | 20.3 | 7.7 | 241 | 230 | 7.1 |  |  | 14.9 | [6 empty] | 54 | 1.8 | <1 | 0.7 | 9.3 | 20.8 | 0 |  | 7 | 0.013 | 0.1 | 0.451 | 6.7 | 1.244 | 2.4 |  |  | 1.708
8 | 0.724 | 1.978 |  | 20.1 | 7.4 |  |  | 7.4 | [9 empty] | 75 | 1.1 | <1 | 0.8 | 9.6 | 18.8 | 0 |  | 8 | 0.183 | 1.5 | 0.475 | 6.7 | 1.32 | 2.9 |  |  | 1.978
9 | 0.68 | 1.882 |  | 20.4 | 7.6 | 204 | 224 | 7.3 |  |  | 10.5 | [6 empty] | 54 | 1.3 | <1 | 0.8 | 9.5 | 18.9 | 0 |  | 9 | 0.011 | 0.3 | 0.395 | 5.6 | 1.476 | 3.4 |  |  | 1.882
10 | 0.684 | 1.991 |  | 19.4 | 7.3 |  |  | 7.4 | [9 empty] | 90 | 1.5 | <1 | 0.8 | 9.3 | 19.8 | 0 |  | 10 | 0.058 | 0.4 | 0.209 | 2.5 | 1.724 | 4 |  |  | 1.991
11 | 0.713 | 1.492 | [15 empty] | 71 | 1 | <1 | 0.8 |  |  | 0 |  | 11 |  |  |  |  | 1.492 | 3.3 |  |  | 1.492
12 | 0.755 | 1.348 | [15 empty] | 65 | 1 | <1 | 0.75 |  |  | 0.1 |  | 12 |  |  |  |  | 1.348 | 3.7 |  |  | 1.348
13 | 0.792 | 1.487 |  | 19.4 | 7.5 |  |  | 7.4 | [9 empty] | 72 | 1 | <1 | 0.8 | 9.7 | 17.5 | 0 |  | 13 | 0.229 | 1.8 |  |  | 1.258 | 2.5 |  |  | 1.487
14 | 0.703 | 1.518 |  | 20.2 | 7.4 | 240 | 280 | 7.3 |  |  | 9.6 | [6 empty] | 87 | 0.7 | <1 | 0.9 | 8.9 | 21 | 0 |  | 14 | 0.102 | 0.8 | 0.138 | 2.1 | 1.277 | 2.6 |  |  | 1.518
15 | 0.691 | 1.439 |  | 20.6 | 7.3 |  |  | 7.2 | [9 empty] | 96 | 0.7 | <1 | 1.2 | 8.6 | 22.7 | 0 |  | 15 |  |  | 0.316 | 4.6 | 1.123 | 2.3 |  |  | 1.439
16 | 0.689 | 1.475 |  | 20.5 | 7.5 | 223 | 185 | 7.2 |  |  | 7.6 | [6 empty] | 85 | 0.8 | <1 | 1.4 | 8.4 | 23.9 | 0 |  | 16 | 0.023 | 0.2 | 0.417 | 6.1 | 1.036 | 2.9 |  |  | 1.475
17 | 0.678 | 1.425 |  | 21.2 | [13 empty] | 73 | 0.7 | <1 | 1.3 | 8.3 | 25.1 | 0 |  | 17 |  |  | 0.165 | 2.1 | 1.26 | 5.8 |  |  | 1.425
18 | 0.698 | 1.264 | [15 empty] | 67 | 0.5 | <1 | 1.3 |  |  | 0 |  | 18 |  |  |  |  | 1.264 | 5 |  |  | 1.264
19 | 0.712 | 1.267 | [15 empty] | 60 | 0.5 | <1 | 1.3 |  |  | 0 |  | 19 |  |  |  |  | 1.267 | 5.8 |  |  | 1.267
20 | 0.701 | 1.156 |  | 20.8 | 7.2 |  |  | 7.4 | [9 empty] | 110 | 0.6 | <1 | 1 | 8.2 | 23.2 | 0 | 7/20/09 dropped to Class B water for | 20 | 0.041 | 0.3 | 0.398 | 5.1 | 0.727 | 4.3 |  |  | 1.156
21 | 0.689 | 1.554 |  | 21.6 | 7.2 | 228 | 208 | 7.2 |  |  | 5.2 | [6 empty] | 122 | 1.1 | <1 | 0.8 | 8.1 | 25.4 | 0 | approx. 2 hours,exceeded 2.0 NTU's. | 21 |  |  | 0.492 | 5.9 | 1.062 | 2.4 |  |  | 1.554
22 | 0.701 | 1.587 |  | 21 | 7.3 |  |  | 7.2 | [9 empty] | 108 | 1 | <1 | 0.8 | 8.1 | 25.5 | 0 |  | 22 | 0.22 | 1.7 | 0.237 | 3.2 | 1.13 | 2.3 |  |  | 1.587
23 | 0.7 | 1.409 |  | 21.3 | 7.6 | 248 | 284 | 7.4 |  |  | 6.9 | [6 empty] | 90 | 0.9 | <1 | 0.9 | 9.2 | 21.6 | 0 |  | 23 | 0.152 | 1.2 | 0.1 | 1.5 | 1.157 | 2.3 |  |  | 1.409
24 | 0.674 | 1.493 |  | 20 | 7.5 |  |  | 7.3 | [9 empty] | 90 | 0.4 | <1 | 0.8 | 9.3 | 21.1 | 0 |  | 24 | 0.007 | 0.05 |  |  | 1.486 | 3 |  |  | 1.493
25 | 0.702 | 1.255 | [15 empty] | 85 | 0.8 | <1 | 0.85 |  |  | 0 |  | 25 |  |  |  |  | 1.255 | 2.5 |  |  | 1.255
26 | 0.695 | 1.299 | [15 empty] | 88 | 0.7 | <1 | 0.85 |  |  | 0 |  | 26 |  |  |  |  | 1.299 | 2.7 |  |  | 1.299
27 | 0.716 | 1.585 |  | 21.5 | 7.7 |  |  | 7.3 | [9 empty] | 102 | 0.7 | <1 | 1 | 8 | 28 | 0 |  | 27 |  |  | 0.522 | 7.3 | 1.063 | 2.5 |  |  | 1.585
28 | 0.705 | 1.764 |  | 21.9 | 7.8 | 265 | 317 | 7.2 |  |  | 11.5 | [6 empty] | 101 | 0.8 | <1 | 1.1 | 8.1 | 27.8 | 0 |  | 28 | 0.112 | 0.9 | 0.322 | 3.8 | 1.33 | 3.2 |  |  | 1.764
29 | 0.705 | 1.682 |  | 21 | 7.4 |  |  | 7.1 | [9 empty] | 103 | 1 | <1 | 0.9 | 7.9 | 29.5 | 0 |  | 29 | 0.19 | 1.5 | 0.3 | 4.2 | 1.192 | 2.9 |  |  | 1.682
30 | 0.723 | 1.613 |  | 21.7 | 7.7 | 218 | 220 | 7.2 |  |  | 12 | [6 empty] | 91 | 0.9 | <1 | 0.9 | 8.4 | 27 | 0 |  | 30 |  |  | 0.241 | 3.4 | 1.372 | 3.2 |  |  | 1.613
31 | 0.699 | 1.856 |  | 20.9 | 7.5 | [12 empty] | 100 | 0.9 | <1 | 0.9 | 8.4 | 25.2 | 0 |  | 31 | 0.133 | 1 | 0.118 | 1.6 | 1.601 | 3.8 |  |  | 1.856
Total | 22.075 | 45.953 | [15 empty] | 2443 | [5 empty] | 0.1 |  | TOTAL | 1.73 |  | 5.736 |  | 38.493 |  | 0 |  | 45.953
MAX | 0.792 | 1.991 |  | 21.9 | 7.8 | 265 | 317 | 7.4 |  |  | 14.9 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 1.8 |  |  |  |  | 0.1 |  | MAX | 0.229 |  | 0.522 |  | 1.724 |  | 0 |  | 1.991
MIN | 0.674 | 1.144 |  | 18.6 | 7.2 | 204 | 185 | 7.1 |  |  | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0.4 |  |  |  |  | 0 |  | MIN | 0.007 |  | 0.1 |  | 0.727 |  | 0 |  | 1.144
AVG | 0.7121 | 1.4824 |  | 20.5227 | 7.46 | 234.7778 | 237.5556 | 7.2737 |  |  | 9.7778 | [6 empty] | 78.8065 | 0.97097 | <1 | 0.86939 | 8.7545 | 23.1182 | 0.0032258 |  | AVG | 0.10176 | 0.81471 | 0.31867 | 4.3833 | 1.2417 | 3.2097 |  |  | 1.4824
PERMIT | [7 empty] | 6- |  |  |  | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  |  | 2.2/ | 2.0 Daily |  |  |  |  | PERMIT
STAND | [7 empty] | 9 | [5 empty] | lbs/day |  |  | lbs/day |  |  | 100ml | Average |  |  |  |  | STAND
PRINCIPAL OPERATOR NAME: |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 |  | LEVEL 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 |  | LEVEL 1