## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH: June 2009
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION: 7605 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II | [7 empty] | Recycled Water |  | City of Molalla
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT : REUSE | [18 empty] | MONTH / YEAR: |  | June | 2009
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Max Temp | Min DO | NH3 mg/L | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Field Cl2 Residual | Total Colif | Turbidity | MOL 1400- DO | River 1800 Temp | RAIN inch |  | Day | WWTP MGD | Inches/acre | Nursery MGD | Inches/acre | Coleman MGD | Inches/acre | Ron MGD | Inches/acre | Total Irr. MGD
1 | 0.844 |  |  | 16.8 | 7.2 | [16 empty] | 9.7 | 18.2 | 0.01 | Plant Off. | 1
2 | 0.822 |  |  | 17.2 | 7.1 | 219 | 190 | [14 empty] | 10.4 | 16.9 | 0.01 |  | 2
3 | 0.801 |  |  | 16.9 | 7.2 | [16 empty] | 10.2 | 19.1 | 0.01 |  | 3
4 | 0.848 |  |  | 16.5 | 7.2 | 188 | 179 | [14 empty] | 9.8 | 19.5 | 0.16 |  | 4
5 | 0.897 |  |  | 19.3 | 7.8 | [16 empty] | 10.2 | 15.4 | 0.1 |  | 5
6 | 0.876 | [22 empty] | 0 |  | 6
7 | 0.861 | [22 empty] | 0 |  | 7
8 | 0.802 |  |  | 16.6 | 7.2 | [16 empty] | 10.7 | 14.9 | 0 |  | 8
9 | 0.813 |  |  | 17.1 | 7.2 | 189 | 161 | [14 empty] | 10 | 16.6 | 0.05 |  | 9
10 | 0.803 |  |  | 18.8 | 7.7 | [16 empty] | 10.2 | 16.1 | 0.02 |  | 10
11 | 0.794 |  |  | 18.9 | 7.5 | 200 | 229 | [14 empty] | 10.9 | 16.1 | 0 |  | 11
12 | 0.789 |  |  |  | 7.5 | [16 empty] | 10.3 | 17 | 0.18 |  | 12
13 | 0.883 | [22 empty] | 0.03 |  | 13
14 | 0.865 | [22 empty] | 0 | 6/16: Influent, Effluent, and Back Wash | 14
15 | 0.785 |  |  | 18.7 | 7.5 | [16 empty] | 10.1 | 18.6 | 0 | Flow Meters Calibrated. | 15
16 | 0.793 | 0.431 |  | 18.8 | 7.5 | 193 | 208 | [10 empty] | 30 |  |  | 0.75 | 10.2 | 18.2 | 0 | Plant Start @ 0730. Filling Force Main. | 16
17 | 0.772 | 0.594 |  | 18.8 | 7.4 |  |  | 7.4 | [9 empty] | 22 | 1.1 | <1 | 0.8 | 9.6 | 19.8 | 0 | Start Irrigation @ 1100. | 17 | 0.038 | 0.28 |  |  | 0.27 | 1.3 |  |  | 0.308
18 | 0.768 | 0.452 |  | 18.9 | 7 | 167 | 179 | 7.2 | [9 empty] | 22 | 1.1 | <1 | 0.65 | 9.5 | 19.1 | 0.1 | .717MG To Fill Force Main. | 18 | 0.038 | 0.28 |  |  | 0.414 | 1.9 |  |  | 0.452
19 | 0.825 | 0.483 |  | 18.8 | 7.5 |  |  | 7.4 | [9 empty] | 26 | 1.9 | <1 | 0.65 | 9.8 | 18.6 | 0.15 |  | 19 | 0.031 | 0.23 |  |  | 0.452 | 1.6 |  |  | 0.483
20 | 0.839 | 0.447 | [15 empty] | 21 | 1 | <1 | 0.65 |  |  | 0.29 |  | 20 |  |  |  |  | 0.447 | 1.8 |  |  | 0.447
21 | 0.858 | 0.452 | [15 empty] | 21 | 0.9 | <1 | 0.6 |  |  | 0 |  | 21 |  |  |  |  | 0.452 | 1.4 |  |  | 0.452
22 | 0.781 | 0.684 |  | 18.9 | 7.3 | [12 empty] | 28 | 1.3 | <1 | 0.6 | 9.9 | 18.5 | 0 |  | 22 | 0.231 | 1.7 |  |  | 0.453 | 1.9 |  |  | 0.684
23 | 0.748 | 0.887 |  | 18.8 | 7.4 | 208 | 205 | 7.2 | [9 empty] | 33 | 1.5 | <1 | 0.6 | 9.5 | 19.5 | 0 |  | 23 | 0.181 | 1.3 |  |  | 0.706 | 1.8 |  |  | 0.887
24 | 0.75 | 1.084 |  | 17.8 | 7.2 |  |  | 7.2 | [9 empty] | 48 | 2 | <1 | 0.6 | 9.1 | 20 | 0 |  | 24 | 0.199 | 1.6 |  |  | 0.885 | 2.3 |  |  | 1.084
25 | 0.732 | 1.079 |  | 18 | 7 | 214 | 168 | 7.5 | [9 empty] | 34 | 1.8 | <1 | 0.6 | 9.2 | 18.6 | 0 |  | 25 | 0.184 | 1.4 |  |  | 0.895 | 2.5 |  |  | 1.079
26 | 0.692 | 1.105 |  | 17.7 | 7.3 |  |  | 7.5 | [9 empty] | 33 | 1.4 | <1 | 0.65 | 9 | 20.6 | 0 |  | 26 | 0.355 | 2.8 |  |  | 0.75 | 2.9 |  |  | 1.105
27 | 0.712 | 0.847 | [5 empty] | 7.4 | [9 empty] | 29 | 1.4 | <1 | 0.6 |  |  | 0 |  | 27 |  |  |  |  | 0.847 | 5.3 |  |  | 0.847
28 | 0.744 | 0.694 | [5 empty] | 7.2 | [9 empty] | 23 | 1.3 | <1 | 0.6 |  |  | 0 |  | 28 |  |  |  |  | 0.694 | 6 |  |  | 0.694
29 | 0.722 | 1.025 |  | 18.1 | 7.3 |  |  | 7.3 | [9 empty] | 45 | 0.8 | <1 | 0.6 | 8.8 | 21.5 | 0 |  | 29 | 0.233 | 1.4 |  |  | 0.792 | 3.5 |  |  | 1.025
30 | 0.704 | 1.117 |  | 18.3 | 7 | 249 | 289 | 7.2 |  |  | 9.8 | [6 empty] | 45 | 1 | <1 | 0.6 | 8.9 | 21.7 | 0 |  | 30 | 0.207 | 1.3 |  |  | 0.91 | 4 |  |  | 1.117
31 | [25 empty] | 31
Total | 23.923 | 11.381 | [15 empty] | 460 | [5 empty] | 1.11 |  | TOTAL | 1.697 |  | 0 |  | 8.967 |  | 0 |  | 10.664
MAX | 0.897 | 1.117 |  | 19.3 | 7.8 | 249 | 289 | 7.5 |  |  | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 2 |  |  |  |  | 0.29 |  | MAX | 0.355 |  | 0 |  | 0.91 |  | 0 |  | 1.117
MIN | 0.692 | 0.431 |  | 16.5 | 7 | 167 | 161 | 7.2 |  |  | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0.8 |  |  |  |  | 0 |  | MIN | 0.031 |  | 0 |  | 0.27 |  | 0 |  | 0.308
AVG | 0.79743 | 0.75873 |  | 18.081 | 7.3182 | 203 | 200.8889 | 7.3182 |  |  | 9.8 | [6 empty] | 30.6667 | 1.3214 | <1 | 0.63418 | 9.8182 | 18.3864 | 0.037 |  | AVG | 0.1697 | 1.229 |  |  | 0.6405 | 2.7286 |  |  | 0.76171
PERMIT | [7 empty] | 6- |  |  |  | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  |  | 2.2/ | 2.0 Daily |  |  |  |  | PERMIT
STAND | [7 empty] | 9 | [5 empty] | lbs/day |  |  | lbs/day |  |  | 100ml | Average |  |  |  |  | STAND
PRINCIPAL OPERATOR NAME: |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 |  | LEVEL 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 |  | LEVEL 1