## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [11 empty] | MONTH: March 2010
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [6 empty] | REMARKS
POPULATION: 7800 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Min DO | Max Temp | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | E.coli | MOL 1400- DO | River 1800 Temp | RAIN inch | Pond 1 Feet | Pond 2 Feet
1 | 1.536 | 1.157 | 947 | 14.3 | 7 |  |  | 6.9 | 10.8 | 11 | [7 empty] | 20 | 0.01 |  | 12.6 | 9 | 0 | 9.4 | 7.25
2 | 1.502 | 1.189 | 859 | 14.8 | 7 | 141 | 120 | 7 | 10.74 | 11.1 | 5.3 | 4.3 | 97 | 43 | 0.7 | 99 | 6.9 | 24 | 0.01 | <1 | 12.37 | 8.9 | 0.05 | 9.4 | 7.3
3 | 1.442 | 1.209 | 803 | 14.6 | 7.1 |  |  | 6.9 | 10.76 | 11 | [7 empty] | 22 | 0.02 |  |  |  | 0 | 9.4 | 7.4
4 | 1.349 | 1.197 | 738 | 14.7 | 7.1 | 163 | 135 | 7.2 | 10.88 | 10.9 | 6.8 | 5.8 | 96 | 58 | 0.7 | 99 | 7 | 26 | 0 |  | 12.1 | 10.7 | 0 | 9.3 | 7.4
5 | 1.276 | 1.221 | 674 | 14.5 |  |  |  |  | 10.83 | 11.2 | [7 empty] | 25 | 0 |  | 12.2 | 10.1 | 0 | 9.3 | 7.4
6 | 1.267 | 1.242 | 620 | [5 empty] | 10.88 | 11 | [7 empty] | 28 | 0 |  |  |  | 0
7 | 1.251 | 1.238 | 580 | [5 empty] | 10.75 | 11.4 | [7 empty] | 27 | 0 |  |  |  | 0.25
8 | 1.426 | 1.323 | 598 | 14.3 | 7.3 |  |  | 7.2 | 10.73 | 11.6 | [7 empty] | 28 | 0 |  | 12.3 | 9.3 | 0.05 | 9.3 | 7.4
9 | 1.34 | 1.375 | 558 | 14.5 | 7.2 | 153 | 123 | 7 | 10.95 | 11.3 | 6.7 | 5.4 | 96 | 62 | 0.7 | 99 | 8 | 22 | 0 | <1 | 13 | 7.5 | 0.05 | 9.3 | 7.4
10 | 1.288 | 1.362 | 538 | 14.4 | 7.2 |  |  | 7.1 | 11.02 | 10.9 | [7 empty] | 23 | 0 |  | 13.2 | 7.8 | 0 | 9.3 | 7.3
11 | 1.305 | 1.333 | 539 | 14.5 | 7.2 | 151 | 123 | 7.1 | 11.1 | 10.5 | 6.8 | 4.8 | 97 | 53 | 1 | 99 | 11.1 | 24 | 0 |  | 13.2 | 7.6 | 0.3 | 9.35 | 7.3
12 | 1.872 | 1.338 | 1510 | 14.2 | 7.2 |  |  | 7.3 | 11.07 | 10.1 | [7 empty] | 25 | 0.01 |  | 12.9 | 7.5 | 0 | 9.4 | 7.3
13 | 2.017 | 1.331 | 1800 | [5 empty] | 11.3 | 9.8 | [7 empty] | 20 | 0 |  |  |  | 0
14 | 1.734 | 1.273 | 1390 | [5 empty] | 11.39 | 9.8 | [7 empty] | 24 | 0 |  |  |  | 0.02
15 | 1.537 | 1.312 | 1170 | 14.1 |  |  |  |  | 11.27 | 10.1 | [7 empty] | 22 | 0.01 |  | 12.3 | 9.1 | 0 | 9.4 | 7.5
16 | 1.473 | 1.315 | 1070 | 14.3 | 7 | 121 | 99 | 6.9 | 11.12 | 10.6 |  | 5.3 | 96 | 58 | 0.8 | 99 | 8.8 | 20 | 0.01 |  | 12.5 | 8.4 | 0.05 | 9.4 | 7.6
17 | 1.382 | 1.324 | 1050 | 14.5 | 7.1 |  |  | 7.4 | 11.17 | 10.7 | 7.9 | [6 empty] | 22 | 0.01 | <1 | 13.2 | 8.7 | 0 | 9.4 | 7.6
18 | 1.322 | 1.325 | 944 | 14.3 | 7.4 | 135 | 101 | 7.4 | 11.12 | 10.8 |  | 5.1 | 96 | 56 | 0.8 | 99 | 8.8 | 23 | 0.01 |  | 13.1 | 7.8 | 0 | 9.4 | 7.6
19 | 1.259 | 1.333 | 848 | 14.5 | 7.3 |  |  | 7.4 | 10.94 | 11.2 | 6.8 | [6 empty] | 24 | 0.01 |  | 12.9 | 8.6 | 0 | 9.4 | 7.5
20 | 1.235 | 1.321 | 771 | [5 empty] | 10.77 | 11.6 | [7 empty] | 21 | 0.01 |  |  |  | 0
21 | 1.267 | 1.319 | 745 | [5 empty] | 10.61 | 12.3 | [7 empty] | 24 | 0.01 |  |  |  | 0.2
22 | 1.234 | 1.316 | 1090 | 14.1 | 7.3 |  |  | 7.4 | 10.63 | 12.2 | [7 empty] | 22 | 0.01 |  | 12.9 | 8.9 | 0 | 9.3 | 7.4
23 | 1.146 | 1.315 | 1040 | 14.6 | 7.3 | 165 | 172 | 7.3 | 10.64 | 12.2 | 7.6 | 4 | 98 | 44 | 1 | 99 | 11 | 22 | 0.01 | <1 | 13.2 | 8.6 | 0 | 9.3 | 7.3
24 | 1.123 | 1.32 | 928 | 14.5 | 7.5 |  |  | 7.6 | 10.41 | 12.7 | [7 empty] | 24 | 0.01 |  | 12.8 | 9.6 | 0.3 | 9.2 | 7.25
25 | 1.431 | 1.31 | 925 | 14.3 | 7.3 | 184 | 185 | 7.3 | 10.24 | 13.4 | 7.7 | 3.7 | 98 | 40 | 0.8 | 99 | 8.7 | 25 | 0.01 |  | 12.6 | 9.9 | 0.32 | 9.3 | 7.2
26 | 1.553 | 1.275 | 1430 | 13.6 | 7.3 |  |  | 7.4 | 10.34 | 13.1 | [7 empty] | 22 | 0.01 |  | 13.3 | 8.3 | 0 | 9.35 | 7.2
27 | 1.379 | 1.287 | 1470 | [5 empty] | 10.54 | 12.6 | [7 empty] | 18 | 0.01 |  |  |  | 0.27
28 | 1.793 | 1.284 | 1420 | [5 empty] | 10.37 | 13 | [7 empty] | 22 | 0.01 |  |  |  | 0.9
29 | 3.719 | 1.27 | 6090 | 13.6 | 7.1 |  |  | 7.6 | 10.37 | 12.7 | [7 empty] | 20 | 0.01 |  | 12.2 | 8.2 | 0.7 | 9.5 | 7.25
30 | 2.977 | 1.293 | 6710 | 13.7 | 7 | 72 | 56 | 7.5 | 10.59 | 11.7 | 8 | 5.1 | 93 | 55 | 0.3 | 99 | 3.2 | 20 | 0.01 |  | 12.9 | 7.2 | 0.05 | 9.8 | 7.7
31 | 2.309 | 1.322 | 4270 | 14 | 7.2 |  |  | 7.6 | 10.93 | 10.9 | [7 empty] | 23 | 0 | <1 | 12.9 | 8.1 | 0 | 9.7 | 8.1
Total | 48.744 | 40.029 | [15 empty] | 712 |  |  |  |  | 3.51
MAX | 3.719 | 1.375 | 6710 | 14.8 | 7.5 | 184 | 185 | 7.6 | 11.39 | 13.4 | 8 | 5.8 | 98 | 62 | 1 | 99 | 11.1 | 28 | 0.02 |  | 13.3 | 10.7 | 0.9 | 9.8 | 8.1
MIN | 1.123 | 1.157 | 538 | 13.6 | 7 | 72 | 56 | 6.9 | 10.24 | 9.8 | 5.3 | 3.7 | 93 | 40 | 0.3 | 99 | 3.2 | 18 | 0 |  | 12.1 | 7.2 | 0 | 9.2 | 7.2
AVG | 1.5724 | 1.2913 | 1423.3871 | 14.3 | 7.1952 | 142.7778 | 123.7778 | 7.2619 | 10.8148 | 11.4 | 7.0667 | 4.8333 | 96.3333 | 52.1111 | 0.75556 | 99 | 8.1667 | 22.9677 | 0.0067742 | <1 | 12.7577 | 8.6273 | 0.11323 | 9.387 | 7.4196
PERMIT | [7 empty] | 6- |  |  | 16.7mg/L | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  | 0.07mg/L | 126/
STAND | [7 empty] | 9 |  |  | Mo/Avg | Mo/Avg | Mo/Avg | lbs/day | Mo/Avg | Mo/Avg | lbs/day |  | Mo/Avg | 100ml
PRINCIPAL OPERATOR NAME: |  |  |  | Terry Hinzman | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [6 empty] | 9980 |  | Level 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [6 empty] | 7991 |  | Level 2