## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [12 empty] | MONTH: | November | 2009
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [7 empty] | REMARKS
POPULATION: 7605 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Min DO | Max Temp | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | MOL 1400- DO | River 1800 Temp | RAIN inch | Pond 1 Feet | Pond 2 Feet
1 | 1.137 | [22 empty] | 0 | 10.9 | 11.2
2 | 0.966 |  |  | 19.7 | 7.2 | [18 empty] | 0 | 10.9 | 11.5
3 | 0.907 |  |  | 19.5 | 7.4 | 180 | 141 | [16 empty] | 0 | 10.8 | 11.75
4 | 0.881 |  | 271 | 19.2 | 7.8 | [12 empty] | 12 |  |  |  | 11.7 | 9.7 | 0 | 10.8 | 12 | Start Plant: Filling Force Main.
5 | 0.886 | 0.467 | 313 | 19.2 | 7.8 |  |  |  | 9.91 | 16.6 | [7 empty] | 19 | 0.07 |  |  | 11.5 | 10.2 | 0.8 | 10.8 | 12 | Start River Discharge 0900.
6 | 1.503 | 0.784 | 1370 | 18.5 | 7.7 | 146 | 132 | 7.7 | 9.96 | 13.4 | 14.6 | 5.1 | 97 | 33 | 0.8 | 99 | 5.2 | 10 | 0.06 |  | <1 | 11.5 | 10.1 | 0.38 | 10.9 | 12.1
7 | 1.913 | 0.775 | 1950 |  |  |  |  | 7.7 | 10.23 | 12.8 | [7 empty] | 11 | 0.02 |  |  |  |  | 0.91 | 10.9 | 12.2
8 | 2.712 | 0.796 | 1900 | [5 empty] | 10.4 | 12.4 | [7 empty] | 12 | 0.04 |  |  |  |  | 0.15 | 11.2 | 12.4
9 | 1.888 | 1.665 | 1900 | 17.8 | 7.2 |  |  | 7.6 | 10.4 | 12.2 | [7 empty] | 27 | 0.03 |  |  | 10.3 | 9.1 | 0.2 | 11.3 | 12.65
10 | 1.663 | 2.363 | 1590 | 18.1 | 7.3 |  |  | 7.6 | 10.7 | 11.5 | 15.1 | [6 empty] | 32 | 0 |  |  | 12.3 | 9.1 | 0.4 | 11.4 | 12.6
11 | 1.934 | 2.376 | 1330 |  |  | 96 | 117 |  | 10.8 | 11.4 |  | 3.4 | 96 | 67 | 0.4 | 99 | 6.5 | 28 | 0 |  |  |  |  | 0.45 | 11.4 | 12.5
12 | 1.924 | 2.554 | 1530 | 17.5 | 7.2 | 87 | 97 | 7.4 | 10.7 | 11.3 | 14.9 | 6.6 | 92 | 141 | 0.5 | 99 | 10.7 | 33 | 0 |  | <1 | 12.3 | 8.3 | 0 | 11.4 | 12.45 | Effluent Flowmeter Calibration
13 | 1.74 | 2.633 | 1220 | 17.5 | 7.2 |  |  | 7.5 | 10.9 | 10.9 | [7 empty] | 32 | 0 |  |  | 12.7 | 8.2 | 0.2 | 11.3 | 12.3
14 | 1.224 | 2.631 | 1030 | [5 empty] | 11 | 10.5 | [7 empty] | 35 | 0 |  |  |  |  | 0 | 11.3 | 12.25
15 | 1.427 | 2.594 | 840 | [5 empty] | 11.1 | 10.1 | [7 empty] | 35 | 0 |  |  |  |  | 0 | 11.3 | 12
16 | 1.324 | 2.615 | 742 | 17.8 | 7.4 |  |  | 7.5 | 10.94 | 10.2 | [7 empty] | 37 | 0 |  |  | 12.5 | 8.7 | 0.5 | 11.1 | 11.8
17 | 1.845 | 2.619 | 790 | 17 | 7.2 | 95 | 99 |  | 10.9 | 10.2 | 13.8 | 5.6 | 94 | 122 | 0.4 | 99 | 8.7 | 36 | 0 |  |  | 11.9 | 8.9 | 0.15 | 11.1 | 11.5
18 | 1.712 | 2.36 | 2140 | 17.1 | 7.3 |  |  |  | 11.1 | 10 | [7 empty] | 35 | 0 |  | <1 | 13.3 | 8.2 | 0 | 11.1 | 11.3
19 | 1.495 | 2.302 | 1510 | 17.5 | 7.2 | 74 | 65 |  | 11.1 | 9.7 | 13.8 | 6.9 | 91 | 132 | 0.4 | 99 | 7.7 | 40 | 0 |  |  | 12.4 | 9 | 0.01 | 11.1 | 11
20 | 1.629 | 2.537 | 1490 | 17.6 | 7.3 |  |  |  | 11.1 | 9.7 | [7 empty] | 37 | 0 |  |  | 11.8 | 8.7 | 0.5 | 11.1 | 10.7 | Effluent Temperature Audit
21 | 1.806 | 2.739 | 1460 | [5 empty] | 11.27 | 9.4 | [7 empty] | 38 | 0 |  |  |  |  | 0.35 | 11.1 | 10.4
22 | 2.124 | 2.716 | 1420 | [5 empty] | 11.3 | 9.1 | [7 empty] | 34 | 0 |  |  |  |  | 0 | 11.1 | 10.3
23 | 1.745 | 2.659 | 2000 | 16.5 | 7.3 | 146 | 107 |  | 11.4 | 9.2 | 12.4 | 7 | 95 | 155 | 0.4 | 99 | 8.9 | 39 | 0 |  | <1 | 12.8 | 8.2 | 0 | 11.2 | 10.1
24 | 1.537 | 2.668 | 1440 | 16.8 | 7.2 | 117 | 87 |  | 11.4 | 9.1 |  | 5.8 | 95 | 129 | 0.4 | 99 | 8.9 | 41 | 0 |  |  | 12.2 | 8.9 | 0 | 11.1 | 9.9
25 | 1.439 | 2.587 | 1220 | 16.7 | 7.3 |  |  |  | 11.3 | 9.3 | 11.1 | [6 empty] | 40 | 0 |  |  | 13 | 8.2 | 0 | 11.1 | 9.6
26 | 1.559 | 2.508 | 1150 | [5 empty] | 11.3 | 9.1 | [7 empty] | 44 | 0 |  |  |  |  | 1.2 | 11.2 | 9.35
27 | 2.606 | 2.593 | 1680 | [5 empty] | 11.3 | 9.2 | [7 empty] | 44 | 0 |  |  |  |  | 0 | 11.3 | 9.2
28 | 2.075 | 2.591 | 2220 | [5 empty] | 11.3 | 9.5 | [7 empty] | 44 | 0 |  |  |  |  | 0 | 11.3 | 9.1
29 | 1.785 | 2.558 | 1610 | [5 empty] | 11.4 | 9.2 | [7 empty] | 43 | 0 |  |  |  |  | 0
30 | 1.551 | 2.722 | 1260 | 16.7 | 7.3 |  |  |  | 11.4 | 9.2 | [7 empty] | 47 | 0 |  |  | 12.7 | 7 | 0 | 11.2 | 8.8
31
Total | 48.937 | 58.412 | [15 empty] | 885 | [5 empty] | 6.2
MAX | 2.712 | 2.739 |  | 19.7 | 7.8 | 180 | 141 | 7.7 |  |  | 15.1 | 7 | 97 | 155 | 0.8 | 99 | 10.7 | 47 | 0.07 |  |  |  |  | 1.2 | 11.4 | 12.65
MIN | 0.881 | 0.467 |  | 16.5 | 7.2 | 74 | 65 | 7.4 |  |  | 11.1 | 3.4 | 91 | 33 | 0.4 | 99 | 5.2 | 10 | 0 |  |  |  |  | 0 | 10.8 | 8.8
AVG | 1.6312 | 2.2466 | 1384.2963 | 17.8167 | 7.35 | 117.625 | 105.625 | 7.5714 | 10.9465 | 10.5846 | 13.6714 | 5.7714 | 94.2857 | 111.2857 | 0.47143 | 99 | 8.0857 | 32.7778 | 0.0084615 |  | <1 | 12.1813 | 8.7812 | 0.20667 | 11.1276 | 11.2052
PERMIT | [7 empty] | 6- |  |  | 11.5mg/L | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  | 0.07mg/L |  | 126/
STAND | [7 empty] | 9 |  |  | Mo/Avg | Mo/Avg | Mo/Avg | lbs/day | Mo/Avg | Mo/Avg | lbs/day |  | Mo/Avg |  | 100ml
PRINCIPAL OPERATOR NAME: |  |  |  | Matt Johnson | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 9474 |  | Level 2
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 9222 |  | Level 1