## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH: October 2009
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION: 7605 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II | [7 empty] | REUSE | City of Molalla
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT : REUSE | [18 empty] | MONTH / YEAR: |  | October | 2009
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Max Temp | Min DO | NH3 mg/L | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Field Cl2 Residual | Total Colif | Turbidity | MOL 1400- DO | River 1800 Temp | RAIN inch |  | Day | WWTP MGD | Inches/acre | Nursery MGD | Inches/acre | Coleman MGD | Inches/acre | Ron MGD | Inches/acre | Total Irr. MGD
1 | 0.696 |  |  | 21.9 | 7.6 | 217 | 198 | [14 empty] | 10.5 | 16 | 0.1 | Plant Off. | 1
2 | 0.698 |  |  | 22 | 7.6 | [16 empty] | 10.7 | 15.7 | 0 |  | 2
3 | 0.687 | [22 empty] | 0.18 |  | 3
4 | 0.81 | [22 empty] | 0 |  | 4
5 | 0.71 |  |  | 21.7 | 7.8 | [16 empty] | 10.8 | 14 | 0 |  | 5
6 | 0.673 |  |  | 21.7 | 7.7 | 194 | 204 | [14 empty] | 10.8 | 13.9 | 0 |  | 6
7 | 0.662 |  |  | 21.6 | 7.9 | [16 empty] | 10.9 | 14.6 | 0 |  | 7
8 | 0.657 |  |  | 21.1 | 7.8 | 214 | 139 | [14 empty] | 10.1 | 14.3 | 0 |  | 8
9 | 0.694 |  |  | 19.8 | 7.7 | [16 empty] | 10.9 | 13.9 | 0 |  | 9
10 | 0.653 | [22 empty] | 0 |  | 10
11 | 0.671 | [22 empty] | 0 |  | 11
12 | 0.648 |  |  | 21.2 | 7.6 | [16 empty] | 11.3 | 12.4 | 0 |  | 12
13 | 0.671 |  |  | 21.5 | 7.7 | 218 | 129 | [14 empty] | 10.5 | 12.7 | 0.35 |  | 13
14 | 0.86 |  |  | 21 | 7.7 | [16 empty] | 10.9 | 14.2 | 0.15 |  | 14
15 | 0.737 |  |  | 21.3 | 7.7 | 238 | 172 | [14 empty] | 10.8 | 14.4 | 0 |  | 15
16 | 0.702 |  |  | 21.3 | 8 | [16 empty] | 10.6 | 15.4 | 0 |  | 16
17 | 1.125 | [22 empty] | 1.1 |  | 17
18 | 1.004 | [22 empty] | 0 |  | 18
19 | 0.849 |  |  | 20.5 | 7.6 | [16 empty] | 11.5 | 14.8 | 0 |  | 19
20 | 0.787 |  |  | 20.7 | 7.8 | 234 | 179 | [14 empty] | 11.4 | 14.8 | 0.1 |  | 20
21 | 0.867 |  |  | 20.6 | 7.4 | [16 empty] | 10.9 | 13.5 | 0.05 |  | 21
22 | 0.793 |  |  | 20.7 | 7.4 | 213 | 147 | [14 empty] | 11.2 | 14.2 | 0.01 |  | 22
23 | 0.964 |  |  | 21 | 7.8 | [16 empty] | 11.2 | 14.3 | 0.35 |  | 23
24 | 0.883 | [22 empty] | 0 |  | 24
25 | 0.863 | [22 empty] | 0 |  | 25
26 | 1.21 |  |  | 20.3 | 7.6 | [18 empty] | 0.8 |  | 26
27 | 1.194 |  |  | 19.7 | 7.6 | 160 | 207 | [14 empty] | 11.7 | 9.9 | 0.13 |  | 27
28 | 1.038 |  |  | 19.6 | 7.6 | [16 empty] | 11.8 | 9.5 | 0.35 |  | 28
29 | 1.282 |  |  | 18.9 | 7.3 | 133 | 170 | [16 empty] | 0.1 |  | 29
30 | 1.162 |  |  | 19.6 | 7.5 | [18 empty] | 0.3 |  | 30
31 | 1.354 | [22 empty] | 0.1 |  | 31
Total | 26.604 | 0 | [15 empty] | 0 | [5 empty] | 4.17 |  | TOTAL | 0 |  | 0 |  | 0 |  | 0 |  | 0
MAX | 1.354 | 0 |  | 22 | 8 | 238 | 207 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1.1 |  | MAX | 0 |  | 0 |  | 0 |  | 0 |  | 0
MIN | 0.648 | 0 |  | 18.9 | 7.3 | 133 | 129 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | MIN | 0 |  | 0 |  | 0 |  | 0 |  | 0
AVG | 0.85819 |  |  | 20.8045 | 7.6545 | 202.3333 | 171.6667 | [14 empty] | 10.9737 | 13.8158 | 0.13452 |  | AVG | [8 empty] | #DIV/0!
PERMIT | [7 empty] | 6- |  |  |  | 10mg/L | 80% | 160 | 10mg/L | 80% | 160 |  |  | 2.2/ | 2.0 Daily |  |  |  |  | PERMIT
STAND | [7 empty] | 9 | [5 empty] | lbs/day |  |  | lbs/day |  |  | 100ml | Average |  |  |  |  | STAND
PRINCIPAL OPERATOR NAME: |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 |  | LEVEL 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 |  | LEVEL 1