## Sheet1
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [20 empty] | RECEIVING WATERS: BEAR CREEK (BC)
CITY OF MOLALLA |  |  |  |  | CLACKAMAL COUNTY OREGON | [9 empty] | PERMIT # 100893 | [5 empty] | FILE # 57613 |  |  | TREATMENT SYS. CLASS: III |  |  |  |  | III |  | REMARKS, explanation of exceeding permits:
POPULATION 5300 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [19 empty] | COLLECTION SYS. CLASS: III |  |  |  |  | II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @ DMS
|  |  | MOL. |  | BOD | TSS |  |  |  | DO | BOD | BODBOD | BOD |  | TSS |  | TSS | TSS | CHLORINE |  | BACTERIA |  |  |  |  | Aer Basin |  | Lagoons
| INF. | EFF. | River | [8 empty] | Rem | disch. | NH3 |  | TSS | Remov. | disch. | USED | RESID. | TOTAL | E. coli |  |  |  | DO |  | Cell | Cell | RAIN
DAY | MGD | MGD | CFS | pH | mg/L | mg/L | Temp. | pH | temp | mg/L | mg/L | % | lb. | mg/L | mg/L | mg/L | % | lb. | lb. | mg/L | COLIF. |  |  |  |  | mg/L | temp | #1,ft. | #2, ft. | in.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | [10 empty] | 0
MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PERMIT |  |  |  | 6- |  |  |  | 6- |  |  | 10 | 85% | 320 |  |  | 10 | 85% | 320 |  |  | 23 | 126
STAND |  |  |  | 9 |  |  |  | 9 |  |  | mg/L |  | lb/day |  |  | mg/L |  | lb/day |  |  | /100ml | /100ml
PRINCIPAL OPERATOR NAME: Dennis M St. Clair |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 | / | LEVEL 2 | 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 | / | LEVEL 1
During this reporting period did all monitoring data & sampling frequencies meet permit requirments & limits (if "no", explain)? | [24 empty] | Yes / No
During this reporting period were there unanticipated bypasses or upsets which exceeded any effluent limits (if "yes", explain)? | [25 empty] | Yes / No
During this reporting period was there any collections system overflows (if "yes" explain)? | [19 empty] | Yes / No

## Sheet2
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH:
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #100893 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION 6500 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT @DMS
MOL RIVER
DAY | INF. MGD | EFF. MGD | Molalla River CFS | pH | BOD mg/L | TSS mg/L | Temp | pH | Max Temp | Min DO | NH3 | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Max Chlorine Hr. Avg | Total Colif | Ecoli | 1400- DO | 1800 Temp | RAIN inch
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
MAX
MIN
AVG
Permit Stand

## DMR 2007
MOLALLA WASTEWATER TREATMENT PLANT DISCHARGE MONITORING REPORT | [13 empty] | RECEIVING WATERS: MOLALLA RIVER | [10 empty] | MONTH: September 2009
CITY OF MOLALLA |  |  |  | CLACKAMAS COUNTY OREGON | [9 empty] | PERMIT #101514 |  |  | FILE #57613 |  | TREATMENT SYS. CLASS III | [5 empty] | REMARKS
POPULATION: 7605 |  |  |  | TREATMENT PROCESS: PRE-AERATED LAGOONS WITH EFFLUENT FILTRATION | [14 empty] | COLLECTION SYS. CLASS II | [7 empty] | REUSE | City of Molalla
|  |  |  | PLANT INFLUENT |  |  |  | PLANT EFFLUENT : REUSE | [18 empty] | MONTH / YEAR: |  | September | 2009
DAY | INF. MGD | EFF. MGD | Molalla River CFS | Temp | pH | BOD mg/L | TSS mg/L | pH | Max Temp | Min DO | NH3 mg/L | BOD mg/L | BOD % Rem | BOD Disch. lbs | TSS mg/L | TSS % Rem | TSS Disch. Lbs | Chlorine Used lbs | Field Cl2 Residual | Total Colif | Turbidity | MOL 1400- DO | River 1800 Temp | RAIN inch |  | Day | WWTP MGD | Inches/acre | Nursery MGD | Inches/acre | Coleman MGD | Inches/acre | Ron MGD | Inches/acre | Total Irr. MGD
1 | 0.676 | 0.626 |  | 22.3 | 7.8 |  |  | 7 |  |  | 14 | [6 empty] | 51 | 0.8 | <1 | 1.1 | 10.4 | 20.4 | 0 |  | 1 | 0.25 | 2 |  |  | 0.376 | 2 |  |  | 0.626
2 | 0.676 | 0.55 |  | 22.1 | 7.7 | 261 | 236 | 7.4 | [9 empty] | 63 | 0.9 | <1 | 1.2 | 9.8 | 22.7 | 0 |  | 2 | 0.162 | 1.3 |  |  | 0.388 | 1.1 |  |  | 0.55
3 | 0.66 | 0.134 |  | 22.9 | 7.9 | 227 | 193 | 7.3 |  |  | 15.3 | [6 empty] | 10 | 1.8 | <1 | 1.1 | 9.6 | 22.1 | 0 | Plant Shut Down: 8:00am. | 3 |  |  |  |  | 0.134 | 1.6 |  |  | 0.134
4 | 0.631 |  |  | 22.9 | 7.9 | [16 empty] | 10.6 | 21.6 | 0.45 |  | 4
5 | 0.887 | [22 empty] | 0.38 |  | 5
6 | 0.943 | [22 empty] | 0.57 |  | 6
7 | 0.971 | [22 empty] | 0 |  | 7
8 | 0.827 |  |  | 22.5 | 7.5 | 289 | 338 | [14 empty] | 10.3 | 19.7 | 0 |  | 8
9 | 0.785 |  |  | 22.7 | 7.7 | [16 empty] | 9.5 | 21 | 0 |  | 9
10 | 0.755 |  |  | 22.9 | 7.7 | 200 | 153 | [14 empty] | 9.3 | 22.1 | 0 |  | 10
11 | 0.717 |  |  | 22.6 | 7.9 | [16 empty] | 9.1 | 22.9 | 0 |  | 11
12 | 0.739 | [22 empty] | 0 |  | 12
13 | 0.763 | [22 empty] | 0 |  | 13
14 | 0.711 |  |  | 23 | 7.8 | [16 empty] | 10.1 | 20.8 | 0 |  | 14
15 | 0.701 |  |  | 23 | 7.3 | 223 | 235 | [14 empty] | 9.9 | 21.3 | 0 |  | 15
16 | 0.715 |  |  | 23.2 | 8 | [16 empty] | 9.9 | 21.1 | 0.1 |  | 16
17 | 0.695 |  |  | 22.5 | 8.1 | 243 | 194 | [14 empty] | 9.5 | 20.8 | 0 |  | 17
18 | 0.673 |  |  | 21.4 | 7.9 | [16 empty] | 9.1 | 20.4 | 0 |  | 18
19 | 0.739 | [22 empty] | 0.05 |  | 19
20 | 0.746 | [22 empty] | 0 |  | 20
21 | 0.688 |  |  | 22.6 | 8 | [16 empty] | 11.4 | 18.1 | 0 |  | 21
22 | 0.675 |  |  | 22.6 | 7.7 | 260 | 332 | [14 empty] | 11.1 | 19 | 0 |  | 22
23 | 0.671 |  |  | 22.9 | 8 | [16 empty] | 11.2 | 19.3 | 0 |  | 23
24 | 0.675 |  |  | 22.9 | 8.1 | 232 | 236 | [14 empty] | 11.1 | 19.1 | 0 |  | 24
25 | 0.644 |  |  | 22.4 | 7.8 | [18 empty] | 0 |  | 25
26 | 0.665 | [22 empty] | 0 |  | 26
27 | 0.698 | [22 empty] | 0 |  | 27
28 | 0.67 |  |  | 18.3 | 8 | [16 empty] | 10.4 | 15.6 | 0.05 |  | 28
29 | 0.692 |  |  | 22.5 | 7.8 | 238 | 269 | [14 empty] | 10.6 | 15.3 | 0.1 |  | 29
30 | 0.73 |  |  | 22.5 | 7.9 | [16 empty] | 9.9 | 14.2 | 0.1 |  | 30
31 | [25 empty] | 31
Total | 21.818 | 1.31 | [15 empty] | 124 | [5 empty] | 1.8 |  | TOTAL | 0.412 |  | 0 |  | 0.898 |  | 0 |  | 1.31
MAX | 0.971 | 0.626 |  | 23.2 | 8.1 | 289 | 338 | 7.4 | [9 empty] | 63 | 1.8 |  |  |  |  | 0.57 |  | MAX | 0.25 |  | 0 |  | 0.388 |  | 0 |  | 0.626
MIN | 0.631 | 0.134 |  | 18.3 | 7.3 | 200 | 153 | 7 | [9 empty] | 10 | 0.8 |  |  |  |  | 0 |  | MIN | 0.162 |  | 0 |  | 0.134 |  | 0 |  | 0.134
AVG | 0.72727 | 0.43667 |  | 22.4143 | 7.8333 | 241.4444 | 242.8889 | 7.2333 |  |  | 14.65 | [6 empty] | 41.3333 | 1.1667 | <1 | 1.1324 | 10.14 | 19.875 | 0.06 |  | AVG | 0.206 | 1.65 |  |  | 0.29933 | 1.5667 |  |  | 0.43667
PERMIT | [7 empty] | 6- | [11 empty] | 2.2/ | 2.0 Daily |  |  |  |  | PERMIT
STAND | [7 empty] | 9 | [11 empty] | 100ml | Average |  |  |  |  | STAND
PRINCIPAL OPERATOR NAME: |  |  |  | Otis Phillips | [8 empty] | TREATMENT CERTIFICATION # AND GRADE: | [7 empty] | 10506 |  | LEVEL 4
SIGNATURE: | [12 empty] | COLLECTIONS CERTIFICATION # AND GRADE: | [7 empty] | 7848 |  | LEVEL 1